## Cover Sheet
Engineering Standard
X-TMP-STD-008 Engineering Technical Hazard Study Template
Document Number: TEM-00213
This document is the property of Seqwater. It must not be copied or reproduced in any way whatsoever without the authority of Seqwater. This document is uncontrolled when printed. An electronic database manages and stores the controlled version.
Ver No. | Description | Document Owner |  | Document Approver
|  | Position | Approval | Position | Approval | Approval Date
5 | Amended Version (Minor Update) | Lead Process Engineer P6248 | Refer to supporting Info in Rex | Principal Engineering Standards and Assurance P6255 | Refer to supporting Info in Rex | 2025-10-02
Version History
Ver No. | Date | Description | Author | SME | Owner | Approver
5 | 2025-10-02 | Amended Version
4 | 2025-06-30 | Amended Version
3 | 2024-03-04 | Amended Version
2 | 2020-10-08 | Amended Version
1 | 2017-09-21 | Original Version
(Refer Controlled Document in REX for Author, SME, Owner and Approver details)
DOCUMENT SENTITIVITY: OFFICIAL (Public)

## Instructions
Instructions and Information:
1. This Template shall be used with the guidelines provided in X-PRO-STD-013 Engineering Technical Hazard Study Procedure (PRO-02140).
2. This Template includes guidewords and record sheet for HAZID, CHAIR 1, 2 and 3, HAZOP and CHAZOP studies.
3. The study facilitator should prepare and distribute Terms of Reference (ToR) document before a technical hazard study workshop.
4. HAZID study must be used for projects with process systems at the early design phase.
5.Although inherent and managed risk assessments are generally recommended for HAZID, CHAIR 1, and CHAIR 2 studies, the study team shall ultimately determine the appropriate combination of risk analysis components at the start of the meeting. Refer to FRA-00014 Corporate – Enterprise Risk Management Framework for the current Corporate Risk Matrix Table and Risk Management Process.
6. CHAIR 1 study shall only be considered for civil/construction projects. CHAIR 1, 2 & 3 record sheet are provided in a single worksheet.
7. In general, consider the highest risk category for each hazard analysis in the HAZID, CHAIR 1 and CHAIR 2 studies.
8.A full HAZOP study shall be conducted only when the design is near completion or the P&ID has reached the 90% design stage. A coarse HAZOP may be considered for large or critical projects during the preliminary design stage, but only upon the recommendation of a suitably qualified RPEQ.
9. Detailed HAZOP node description with design and operating parameters shall be recorded in a separate worksheet and the study facilitator shall consider to prepare the draft node description after defining the nodes prior to the workshop meeting.
10. CHAZOP shall generally be conducted after the HAZOP study and detailed review of functional description documents.
11. Corporate risk register template is not included here. Refer to TEM-00344 for Corporate - Risk Assessment Template.
12. Where commercial software or alternative templates are used to record hazard study minutes, the guidewords provided in this template for the respective hazard study methods must be used for the hazard analysis.
13. Methods to keep records for closing out actions derived from hazard analysis shall be determined by the project, this is not included in this template.
14. Template users should consider deleting worksheets that are not applicable to the project.

## Attendance Record
Hazard Study Attendance Record
Project Name
Hazard Study Name |  |  | Date
Name | Company | Role | Signature

## Index
Hazard Study Document / Drawing Index
Project Name
Hazard Study Name |  |  | Date
Document Type | Document / Drawing No. | Rev No. | Comment

## Risk Matrix Table and Taxonomy
Refer to: | FRA-00014 : Enterprise Risk Management Framework | Appendix A for Risk Taxonomy, and Appendix B for Corporate Risk Matrix. For convenience the risk taxonomy and risk matrix are copied below, however, the currency of the Risk Matrix must be verified from FRA-00014 Corporate - Enterprise Risk Management Framework before use.

## Guidewords-HAZID
Guidewords - HAZID Study
Category | Guideword | Category | Guideword
Environmental Issues | Bush Fire | Utility Failure | Potable Water
| Flood |  | Service Water
| High Wind/Storm |  | Firefighting Water
| Lightning |  | Instrument Air
| Erosion |  | Power Supply
| Subsidence |  | Sewerage
| Seismic Activity |  | Waste Storage and Treatment
| Noise |  | Fuel Storage
| Proximity to Population |  | High/Low Voltage
| Natural/Wildlife Hazards | Security Issues | Cyber Security
| Cultural Heritage |  | Fraud and Scams
| Emission to air |  | Piracy, Theft
| Soil contamination |  | Sabotage
| Release to water bodies |  | Vandalism
| Loss of Containment |  | Malicious Act
Health Issues | Allergenic |  | Vehicle Accident
| Asphyxiation |  | Terrorism
| Biological Hazards |  | Pandemic
| Carcinogenic |  | Civil Protest
| Disease | Implementation Issues | Asbestos Removal
| Fatigue |  | Design Guidelines and Codes
| Heat / UV-Radiation |  | External Standards
| Radio Frequency Electromagnetic Energy (RF-EME) |  | Internal Standards
| Mechanical Hazards |  | Legislation Requirements
| Mental Issues |  | Construction Issues (i.e. size, height, location, timing, ergonomics etc.)
| Physical (noise, ergonomics, vibration) |  | Commissioning and Testing
| Radioactive |  | Demolition
| Toxicity |  | Existing Operations
Process Issues | Overpressure |  | Simultaneous Operations
| Overfill |  | Documentation & Quality Control
| High/Low Temperature | Maintenance Hazards | Commonality of Equipment
| Vacuum |  | Heavy Lifting Requirement
| Chemical Reaction |  | Manual Handling
| Leakage or Spill |  | Access Requirements
| Hazardous Substance |  | Confined Space
| Control/Operational Philosophy |  | Equipment layout
| Ignition Source | Others | Project Management
| Corrosion |  | Future Development
| Explosion |  | Schedule
| Fire |  | Others
Venting
Draining
Flushing
Pipeline / Piping location
Start-up/Shutdown
Water Quality
Waste Generation
System Software Package
Hazardous Area

## HAZID Study Record Sheet
HAZID Study Record Sheet
Project Name | [5 empty] | Date
Node No.
Node Description
Hazard ID | Category | Guideword / Hazard Description | Causes | Consequence | Inherent Risk Level |  |  |  | Existing or Considered Safeguard / Control | Managed Risk Level |  |  |  | Recommended Action | Assigned to | Due Date | Comment
[5 empty] | Risk Category | Consequence | Likelihood | Risk Score |  | Risk Category | Consequence | Likelihood | Risk Score
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
Note on C6: Select Category first to make drop down list active
Note on F7: Select the Risk Category or Loss Type with the highest rating - see Seqwater Risk Matrix Table for Guidance
Note on K7: Select the Risk Category or Loss Type with the highest rating - see Seqwater Risk Matrix Table for Guidance

## Guidewords-CHAIR
CHAIR 1 - GUIDEWORDS - GENERIC
CHAIR 1 is a conceptual design review that examines the various elements of a design using two types of guidewords: - Generic (applicable to each element in most cases regardless of the type of design) - Overview (used when considering issues that relate to the whole process)
Guideword | Risk Issues | Guideword | Risk Issues
Size | Too large Too small Too long Too short Too wide Too narrow | Load / Force | High/excess Low/insufficient Additional loads (construction) Dynamics Temporary Weakness
Heights / Depths | Working at heights Falls/struck by falling objects Scaffolding (shape, space to fit) Confined space Access/egress | Energy | Low/high energy Tension/compression Potential/kinetic Inertia/moment
Position / Location | Too high Too low Too far Misaligned Wrong position | Timing | Too late/too early Too short/too long Incorrect sequence Extended delays
Poor Ergonomics | Posture/manual handling Repetitive strain injury /discomfort/fatigue/stress Effect on PPE Visibility (lighting slightlines,blind spots) Slips,trips,falls | Egress / Access | No. of exit points Emergency egress Size - width,height,length Obstructions Lighting Entry/exit points External impacts Maintenance People and equipment movements
Movement / Direction | Stability Compression Physical damage Vibration Friction/slip Rotation Upwards/downwards Reverse Expansion/tension Rollover | Maintenance / Repair | Posture/manual handling Size/width Access/egress/heights Dropped objects Weight Discomfort/stress/PPE Visibility/slips/trips Rotating equipment Other
CHAIR 1 - GUIDEWORDS - OVERVIEW
Category | Guideword | Category | Guideword
Environmental Conditions | Extreme weather Temperature Ground Noise Water | Safety Equipment | Personnel protection Safety showers Barriers/guards
External Safety Interfaces | Members of the public Traffic Adjacent property Power/services External fire/emergency plans Day/night/weekend | Natural Hazards | Earthquake Flood Thunderstorm (lightning protection) High winds
Toxicity | Lead/asbestos Handling Precautions Ventilation | Inspection / Testing | Eliminating Isolation Access
Fire / Explosion | Prevention systems Detection systems Fire protection Emergency isolation systems Inert atmosphere Emergency procedures | Demolition | Ease Issues Documentation
Environmental Impact | Vapour emissions Dust emissions Effluent Noise Ground seepage Waste minimisation | Documentation | Operations Maintenance Inspection and testing Sequence Emergency Records/reports
Utilities & Services | Lighting Air Water Fuel/electricity Oxygen Radio frequency electromagnetic radiation | Quality Control | Inspection and testing Quality assurance
Commissioning / Start-up / Shutdown | Requirements Sequence | Construction Equipment | Sequence Timing, access
CHAIR 2 - GUIDEWORDS
CHAIR 2 is a construction or demolition review performed when the detailed design is essentially complete but before the commencement of construction. A set of guidewords (with sub-prompts) are used to assess the proposed main construction steps (rather than the design elements).
Guideword | Risk Issues | Guideword | Risk Issues
Eliminate | Falls (of people) Falling material/objects Stepping on or striking against objects Caught or trapped Lifting and carrying - over exertion Asphyxiation/drowning Machinery Electricity Transport/mobile equipment Toxicity, fires and explosion | Avoid | Construction/lifting sequence Timing/locations Temporary instability Access/egress Delays Confined space Erection/dismantling Heat/cold/noise
Substitute | Falls (of people) Falling material/objects Stepping on or striking against objects Caught or trapped Lifting and carrying - over exertion Asphyxiation/drowning Machinery Electricity Transport/mobile equipment Toxicity, fires and explosion | Other Issue | Modification Isolation Engineering controls Personnel Protective Equipment Alter/rearrange Increase/reduce Simplify
Combine | Construction/lifting sequence Timing Locations
CHAIR 3 - GUIDEWORDS
CHAIR 3 is a maintenance and repair review performed when the detailed design is essentially complete. A set of guidewords are applied to each element of the proposed design to ensure that maintenance and repair issues have been thoroughly considered.
Maintainability Aspect
Posture/manual handling
Access/egress
Heights/dropped objects
Weight
Discomfort/stress
Personnel Protective Equipment
Visibility
Slips, trips, and falls
Rotating/moving equipment
Is repair different?
Others that may apply (list below)

## CHAIR Record Sheet
CHAIR Study Record Sheet (CHAIR 1, CHAIR 2 and CHAIR 3)
Project Name | [6 empty] | Date
CHAIR 1 - Generic Guidewords
Logical Block / Node No.
Logical Block / Node Description
No. | Guideword | Risk Issues | Possible Cause | Consequence | Inherent Risk Level |  |  |  | Existing or Considered Safeguard / Control | Managed Risk Level |  |  |  | Action Required | Assigned to | Due Date | Comments
[5 empty] | Risk Category | Consequence | Likelihood | Risk Score |  | Risk Category | Consequence | Likelihood | Risk Score
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
CHAIR 1 - Overview Guidewords
No. | Category | Guideword | Possible Causes | Consequence | Inherent Risk Level |  |  |  | Existing or Considered Safeguards/Controls | Managed Risk Level |  |  |  | Action Required | Assigned to | Due Date | Comments
[5 empty] | Risk Category | Consequence | Likelihood | Risk Score |  | Risk Category | Consequence | Likelihood | Risk Score
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
CHAIR 2 - Guidewords
Logical Block / Node No.
Logical Block / Node Description
No. | Guideword | Risk Issues | Possible Causes | Consequence | Inherent Risk Level |  |  |  | Existing or Considered Safeguards/Controls | Managed Risk Level |  |  |  | Action Required | Assigned to | Due Date | Comments
[5 empty] | Risk Category | Consequence | Likelihood | Risk Score |  | Risk Category | Consequence | Likelihood | Risk Score
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
| [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
|  | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT] |  |  | [SELECT] | [SELECT] | [SELECT]
CHAIR 3 - Guidewords
Logical Block / Node No.
Logical Block / Node Description
No. | Maintainability Aspect | Assessment | Reasons for Assessment Scoring | Actions Required | Assigned to | Due Date | Comment
[SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
| [SELECT] | [SELECT]
Note on C7: Select Guideword first to make Risk Issues drop down list active
Note on F8: Select the Risk Category or Loss Type with the highest rating - see Seqwater Risk Matrix Table for Guidance
Note on K8: Select the Risk Category or Loss Type with the highest rating - see Seqwater Risk Matrix Table for Guidance
Note on C61: Select Category first to make Guideword drop down list active
Note on F62: Select the Risk Category or Loss Type with the highest rating - see Seqwater Risk Matrix Table for Guidance
Note on K62: Select the Risk Category or Loss Type with the highest rating - see Seqwater Risk Matrix Table for Guidance
Note on C138: Select Guideword first to make Risk Issues drop down list active
Note on F139: Select the Risk Category or Loss Type with the highest rating - see Seqwater Risk Matrix Table for Guidance
Note on K139: Select the Risk Category or Loss Type with the highest rating - see Seqwater Risk Matrix Table for Guidance

## Guidewords-HAZOP
Detailed Listing of HAZOP Guidewords (Generic - Continuous Process)
Guideword | Examples of Possible Cause
High Flow | Pump Racing, Delivery Vessel Pressure Lost, Suction Pressurised, Scale Dislodged, Leak in Heat Exchanger, Loss of Auto Control, Operator Error, Failure of Pipe, Trap, etc.
Low Flow | Pump Failure, Scaling of Delivery, Foreign Body or Sediment, Poor Suction Condition, Cavitation, Leak in Heat Exchanger, Drain Leaking, Valve Jammed, Loss of Auto Control, Operator Error, Failure of Joint, Pipe, Trap, etc.
Zero Flow, Empty | Pump Failure, Delivery Vessel/Main Pressurised, Gas Locking, Blockage, Presence of Foreign Body, Scale, Suction Vessel Empty, Loss of Auto Control, Operator Error, Failure of Joint, Pipe, Trap, etc.
Reverse Flow / Misdirected Flow | Pump Failure, Pump Reversed, Delivery Vessel/Main Over-pressure, Poor Isolation, Gas Locking, Surging, Back Siphoning, Loss of Automatic Control, Operator Error, Pipe Failure, etc.
High Level | Pump Racing, Operator Error, Instrument Failure, Wrong Pump, Wrong Tank Selection, Loss of auto control etc.
Low Level | Operator Error, Wrong Tank Selection, Instrument Failure, Tank Leak, Drain Valve Open etc.
High pressure (venting, relief rate) | Boiling, Cavitation, Freezing, Chemical Breakdown, Flashing, Condensation, Sedimentation, Scaling, Foaming, Gas Release, Priming, Exploding, Imploding, Changes in Viscosity, Density, External Fire, Weather Conditions.
Low pressure (venting, relief rate) | Boiling, Cavitation, Freezing, Chemical Breakdown, Flashing, Condensation, Sedimentation, Scaling, Foaming, Gas Release, Priming, Exploding, Imploding, Changes in Viscosity, Density, External Fire, Weather Conditions.
High temperature | Boiling, Cavitation, Freezing, Chemical Breakdown, Flashing, Condensation, Sedimentation, Scaling, Foaming, Gas Release, Priming, Exploding, Imploding, Changes in Viscosity, Density, External Fire, Weather Conditions.
Low temperature | Boiling, Cavitation, Freezing, Chemical Breakdown, Flashing, Condensation, Sedimentation, Scaling, Foaming, Gas Release, Priming, Exploding, Imploding, Changes in Viscosity, Density, External Fire, Weather Conditions.
Impurities (Gaseous, Liquid, Solid) | Ingress of Air, Water, Steam, Fuel, Lubricants, Corrosion Products, Other Process Materials from High Pressure System, Leakage from Heat Exchanger System
Change in composition / Change in concentration / Two phase flow / Reactions | Two-phase flow, Reactions, Erosion, Corrosion
High / Low pH | Chemical Dosing Pump Racing, Water Quality Changes, Insufficient Mixing, Failure of Pipe, Instrument Failure
Different Water Quality | Changes in Turbidity, pH, Alkalinity, Organics content in Raw Water
Testing | Equipment (including trips and alarms, vacuum and pressure testing with harmless material) Product (how do we know it meets specifications, what quality control is in place)
Plant Items (O&M) | Operable and Maintainable (access, isolation, spares, purging, drying, cooling, warming, drains and vents)
Electrical | Area Classification, Isolation, Earthing
Instruments | Sufficient for Control, Over instrumented, Correct Location
Sampling | Sufficient Sampling Points
Previous Incidents | Are there any previous incidents that should be considered within the design to eliminate a re-occurrence or to mitigate the risk
P&ID Items | Missing Information, Improper Representation, Incorrect Information
Detailed Listing of HAZOP Guidewords (Overview)
Guideword | Possible Cause / Concerned Area |  | Guideword | Possible Cause / Concerned Area
Toxicity | Chemical Types – gaseous emissions, hazards, onsite and offsite issues |  | Noise | Sources, Problems? Control Measures
Oversight – difficulties – siting issues
Service Required | Air, Nitrogen, Water etc. |  | Fire / Explosion | Protection, Prevention, Control, Location of Safety Showers, Deluges, Hydrants, Shutoff Valves & Controls
Materials of Construction | Vessels, Pipelines, Pumps, Piping, others |  | Safety Equipment | Personal, Fire Detection, Fire Fighting, Means of Escape.
Access, Egress, Difficulties, Hazards
Commissioning | How will it be completed; what difficulties of hazards can be foreseen? |  | Quality & Consistency | What will most cause quality to fail or vary? How to prevent those occurrences?
Start Up | First start up methods, difficulties, hazards routine start up methods, too many interlocks |  | Reliability & Bottlenecks | What are the least reliable components, most limiting components? How do they affect during operation during down periods or at capacity?
Shutdown | Isolation, Purging, Difficulties, Hazards |  | Efficiency | Where will the plant lose materials, conversion etc.? Can it be improved?
Breakdown | Power Failure, Air, Steam, Water Vacuum, Fuel, Vents, Computer and others Major causes of breakdown, emergency procedure and communications, which way should valve move? |  | Simplicity | Can we omit plant or simplify control? Can the level of manual intervention be reduced?
Effluent | Gaseous, Liquid, Solid .
Reactions in Drains, Treatment Methods OK?
Detailed Listing of HAZOP Guidewords (Sequential Operations - Batch and Procedural HAZOP)
Guide Word | Meaning | Example of Deviation
NO (NOT OR NONE) | The activity is not carried out or ceases | No flow in pipe, no reactant charged to process, check omitted, valve not opened
MORE OF | A quantitative increase in an activity | More (higher, longer) quantity, flow, temperature, pressure, batch, concentration, time
LESS OF | A quantitative decrease in an activity | Less (lower, shorter) of above
MORE THAN or AS WELL AS | A further activity occurs in addition to the original activity | Impurities present, extra phase (solid or gas in liquid phase) extra (unplanned) process operation, extra valve opened
PART OF | The incomplete performance of an activity | Reduced strength, missing component, operation only part completed
REVERSE | Inversion of the activity | Back-flow or back pressure, heat rather than cool
SOONER / LATER THAN | An activity occurring at the wrong time relative to other works | The activity occurs at the wrong time
OTHERS |  | Wrong material charged. Failure of services. Non routine conditions: start up, shutdown, maintenance, cleaning etc.

## HAZOP Node Description
HAZOP Node Description
Project Name |  |  | Date
Node No and Title | Drawings No. | Design and Operating Conditions | Node Description

## HAZOP Record Sheet (Cont)
HAZOP Study Record Sheet
Project Name |  |  |  |  | Date
Node No.
Node Title
Drawing No(s):
No. | Guideword | Possible Cause | Consequence | Existing Safeguard | Action Required | Assigned to | Comment
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]

## HAZOP Record Sheet (Overview)
HAZOP Study Record Sheet - Overview
Project Name |  |  |  |  | Date
Node Title: |  | Overview
Drawing No(s):
No. | Guideword | Possible Cause | Consequence | Existing Safeguard | Action Required | Assigned to | Comment
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]

## HAZOP Record Sheet (Procedural)
HAZOP Record Sheet - Sequential Operations (Batch or Procedural Hazop)
Project Name | [5 empty] | Date
Node No.
Procedure Reference
No. | Task Step Description | Deviation | Potential Human Failures | Existing Safeguards or Potential to Recover | Consequence if no recovery | Additional Measures to Prevent Failure | Additional Measures to Reduce Consequence or Improve Recovery Potential | Recommendations | Responsibility
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]
[INSERT]

## Guidewords-CHAZOP
CHAZOP Guidewords
Category | Guideword
Control Loop | No Signal / SignaL Lost
More Signal/ High Signal / Out of Range Signal / Failed On
Less Signal / Low Signal / Failed Off
Distortion of Signal/ Incorrect Signal / Frozen Signal / Other
As Well As / Interference
Scan Rate
Tuning, Testing and Verification
Maintainability of Field Devices
Reliability of Field Devices
Control Sequence | No Sequence / Sequence Fails to Initiate
More Sequence / Sequence Fails to End
More / Operator Entries
Less / Sequence Stops Partway
Less / Feedback Requirements
Sequence Order Incorrect / Other
Sequence Timing Incorrect / Other
Communication Networks | No / Complete Network Failure
Partial / Incomplete Transmission
More /Excessive Traffic / Alarm Flood
Incorrect Addressing
As Well As / Interference
Operator Interfaces (Local and Remote) | No / Loss of Interface
Incorrect Data
Less / Insufficient Data
More /Excessive Traffic / Alarm Flood
Partial Failure
Power Supply | No Power / Loss of Power
More / Over-Voltage Current Overload
Less / Under-Voltage Overload
Reverse Current
Partial Failure
Maintainability
Hardware | No /Total CPU or Sub-system Failure / Entire PLC Failure
Random Failure (i.e Cabinet, Controller, I/O Cards)
Inappropriate Combination of I/O Channel
Less / Partial Failure
More / CPU Over-Load
Other / Erratic Operation
Power Supplies / UPS
Environment Impacts: Heat, Vibration, Rain
Software | Software Failure
Change of Functionality in System Software / Incompatibility
Memory Corrupted
Logical Structure
Control of Modifications
Testing and Verification
Adequate Documentation and Annotation
Security | Cyber Security
Software Security Safeguards
Abnormal Behaviour
Loss of Functionality
Breach of Confidentiality
General Considerations in CHAZOP:
• The impact on the design intent from the loss of a function. May apply to either power supply, processor capability, memory, communications channels or to I/O signals, operator interface.
• The impact on the design intent either from signal is distorted or going out of range.
• The failure pattern of inappropriate combinations of I/O channels in relation to the hardware organisation of the system.
• Version incompatibility and/or changes to functionality of the system software.
• Failure assessment may apply to entire PLC, hardware components, software, sequence, and interference.
• The potential consequences of unauthorised access to the system, malicious or otherwise for security assessment.

## CHAZOP Record Sheet
CHAZOP Study Record Sheet
Project Name | [5 empty] | Date
Node No.
Node Description
No. | Category | Guideword | Possible Cause | Consequence | Existing Safeguard | Action Required | Assigned to | Comment
| [SELECT] | [SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
| [SELECT] | [SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
| [SELECT] | [SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
| [SELECT] | [SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
| [SELECT] | [SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
| [SELECT] | [SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
| [SELECT] | [SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
| [SELECT] | [SELECT]
[SELECT]
[SELECT]
[SELECT]
[SELECT]
Note on C6: Select Category first to make Guideword drop down list active

## Drop Down List & Filters (hidden)
Risk Register Level | Risk Category | Risk Owners | Inherent Consequence | Inherent Likelihood | Inherent Risk Rating | Inherent Risk Score | Control Mitigator Effectiveness | Residual Consequence | Residual Likelihood | Residual Risk Rating | Residual Risk Score | Control Owner | Risk Acception Options | Target Likelihood | Target Consequence | Target Risk Rating | Treatment Risk Score | Escalate Risk | Risk Trending | Status of Risk | ALARP
[SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | ---- | [SELECT] | [SELECT] | [SELECT] | [SELECT] | ---- | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | ---- | [SELECT] | [SELECT] | [SELECT] | [SELECT]
Strategic | Health, Safety and Wellbeing | CEO | Critical | Almost Certain | Extreme | 25 | Poor | Critical | Almost Certain | Extreme | 25 | CEO | Yes | Almost Certain | Critical | Extreme | 25 | No | Increasing | Open | Yes
Enterprise | Environment | ELT | Major | Likely | High | 20 | Marginal | Major | Likely | High | 20 | ELT | No | Likely | Major | High | 20 | Yes - to BSSC | Decreasing | Closed | No
OP - Service, People & Technology | Cultural Heritage | Business Projects & Gov. Officer | Moderate | Possible | Medium | 20 | Fair | Moderate | Possible | Medium | 20 | Business Projects & Gov. Officer |  | Possible | Moderate | Medium | 20 | Yes - to ELT | Steady
OP- Health, Safety and Wellbeing | Legal and Compliance | Business Systems Steering Committee | Minor | Unlikely | Low | 16 | Good | Minor | Unlikely | Low | 16 | Business Systems Steering Committee |  | Unlikely | Minor | Low | 16 | Yes
OP - Strategy, Brand and Community Relations | Water Security, Supply and Quality | General Manager | Insignificant | Rare |  | 15 | Excellent | Insignificant | Rare |  | 15 | General Manager |  | Rare | Insignificant |  | 15
OP - People and Culture | Infrastructure, Assets and Operations | Project Control Group |  |  |  | 15 |  |  |  |  | 15 | Project Control Group |  |  |  |  | 15
OP - IT (Operations and Services) | Technology, Security, Information and Management | Project Manager |  |  |  | 12 |  |  |  |  | 12 | Project Manager |  |  |  |  | 12
OP - Information Governance and Delivery | People and Culture | Project Sponsor |  |  |  | 12 |  |  |  |  | 12 | Project Sponsor |  |  |  |  | 12
OP - Chief Financial Officer | Reputation and Community Relations |  |  |  |  | 10 |  |  |  |  | 10 | [5 empty] | 10
OP - Finance | Financial |  |  |  |  | 10 |  |  |  |  | 10 | [5 empty] | 10
OP - Process Improvement | Program and Project |  |  |  |  | 9 |  |  |  |  | 9 | [5 empty] | 9
OP- Procurement | [5 empty] | 8 |  |  |  |  | 8 | [5 empty] | 8
OP- Property Fleet and Facilities | [5 empty] | 8 |  |  |  |  | 8 | [5 empty] | 8
OP - General Counsel & Company Secretary | [5 empty] | 6 |  |  |  |  | 6 | [5 empty] | 6
OP - Legal Services | [5 empty] | 6 |  |  |  |  | 6 | [5 empty] | 6
OP - Governance, Risk & Compliance | [5 empty] | 5 |  |  |  |  | 5 | [5 empty] | 5
OP - Media & Corporate Relations | [5 empty] | 5 |  |  |  |  | 5 | [5 empty] | 5
OP - Water Supply Strategy & Policy | [5 empty] | 4 |  |  |  |  | 4 | [5 empty] | 4
OP - Regulatory & Investment Governance | [5 empty] | 4 |  |  |  |  | 4 | [5 empty] | 4
OP - Water Supply Planning | [5 empty] | 3 |  |  |  |  | 3 | [5 empty] | 3
OP - Policy, Strategy, Research and Innovation | [5 empty] | 3 |  |  |  |  | 3 | [5 empty] | 3
OP - Asset Portfolio Development & Delivery | [5 empty] | 2 |  |  |  |  | 2 | [5 empty] | 2
OP - Water Quality & Environment | [5 empty] | 2 |  |  |  |  | 2 | [5 empty] | 2
OP - Asset Capability & Sustainability | [5 empty] | 1 |  |  |  |  | 1 | [5 empty] | 1
OP - Asset Planning
OP - Engineering & Tech Support
OP - Program Delivery
OP - Operations - Catchments & Raw Water
OP - Source Operations & Management
OP - Recreation and Catchment Service
OP - Operations - Treated Water
OP - Supply (Treated water) - North
OP - Supply (Treated water) - South
OP - Supply (Treated water) - Central
OP - Operational and Contractual Performance
OP - Asset Maintenance
All

## Calculations (hidden)
Consequence
Likelihood |  | Insignificant | Minor | Moderate | Major | Critical
| Almost Certain | M-5 | H-10 | VH-15 | E-20 | E-25
| Likely | L-4 | M-8 | H-12 | VH-16 | E-20
| Possible | L-3 | M-6 | M-9 | H-12 | VH-15
| Unlikely | L-2 | L-4 | M-6 | M-8 | H-10
| Rare | L-1 | L-2 | L-3 | L-4 | M-5

## HAZID Dropdown (hidden)
HAZID Guideword Dropdown
Category | Environmental Issues | Health Issues | Process Issues | Utility Failure | Security Issues | Implementation Issues | Maintenance Hazards | Others
[SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT]
Environmental Issues | Bush Fire | Allergenic | Overpressure | Potable Water | Cyber Security | Asbestos Removal | Commonality of Equipment | Project Management
Health Issues | Flood | Asphyxiation | Overfill | Service Water | Fraud and Scams | Design Guidelines and Codes | Heavy Lifting Requirement | Future Development
Process Issues | High Wind/Storm | Biological Hazards | High/Low Temperature | Firefighting Water | Piracy, Theft | External Standards | Manual Handling | Schedule
Utility Failure | Lightning | Carcinogenic | Vacuum | Instrument Air | Sabotage | Internal Standards | Access Requirements | Others
Security Issues | Erosion | Disease | Chemical Reaction | Power Supply | Vandalism | Legislation Requirements | Confined Space
Implementation Issues | Subsidence | Fatigue | Leakage or Spill | Sewerage | Malicious Act | Construction Issues (i.e. size, height, location, timing, ergonomics etc.) | Equipment layout
Maintenance Hazards | Seismic Activity | Heat / UV-Radiation | Hazardous Substance | Waste Storage and Treatment | Vehicle Accident | Commissioning and Testing
Others | Noise | Radio frequency electromagnetic energy | Control/Operational Philosophy | Fuel Storage | Terrorism | Demolition
| Proximity to Population | Mechanical Hazards | Ignition Source | High/Low Voltage | Pandemic | Existing Operations
| Natural/Wildlife Hazards | Mental Issues | Corrosion |  | Civil Protest | Simultaneous Operations
| Cultural Heritage | Physical (noise, ergonomics, vibration) | Explosion |  |  | Documentation & Quality Control
| Emission to air | Radioactive | Fire
| Soil contamination | Toxicity | Venting
| Release to water bodies |  | Draining
| Loss of Containment |  | Flushing
Pipeline / Piping location
Start-up/Shutdown
Water Quality
Waste Generation
System Software Package
Hazardous Area

## CHAIR Dropdown (hidden)
CHAIR Guide Word Dropdown
CHAIR 1 - Generic
Guide Word | Size | Heights or Depths | Position or Location | Poor Ergonomics | Movement or Direction | Load or Force | Energy | Timing | Egress or Access | Maintenance or Repair
[SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT]
Size | Too large | Working at heights | Too high | Posture/manual handling | Stability | High/excess | Low/high energy | Too late/too early | Number of exit points | Posture/manual handling
Heights or Depths | Too small | Falls/struck by falling objects | Too low | Repetitive strain injury/discomfort/fatigue/stress | Compression | Low/insufficient | Tension/compression | Too short/too long | Emergency egress | Size/width
Position or Location | Too long | Scaffolding (shape, space to fit) | Too far | Effect on PPE | Physical damage | Additional loads (construction) | Potential/kinetic | Incorrect sequence | Size-width, height, length | Access/egress/heights
Poor Ergonomics | Too short | Confined space | Misaligned | Visibility (lighting slightlines, blind spots) | Vibration | Dynamics | Inertia/moment | Extended delays | Obstructions | Dropped objects
Movement or Direction | Too wide | Access/egress | Wrong position | Slips, trips, falls | Friction/slip | Temporary |  |  | Lighting | Weight
Load or Force | Too narrow |  |  |  | Rotation | Weakness |  |  | Entry/exit points | Discomfort/stress/PPE
Energy |  |  |  |  | Upwards/downwards |  |  |  | External impacts | Visibility/slips/trips
Timing |  |  |  |  | Reverse |  |  |  | Maintenance | Rotating equipment
Egress or Access |  |  |  |  | Expansion/tension |  |  |  | People and equipment movements | Other
Maintenance or Repair |  |  |  |  | Rollover
CHAIR 1 - Overview Guidewords
Guideword | Environmental Conditions | External Safety Interfaces | Toxicity | Fire or Explosion | Environmental Impact | Utilities and Services | Commission or Start-up or Shutdown | Safety Equipment | Natural Hazards | Inspection or Testing | Demolition | Documentation | Quality Control | Construction Equipment
[SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT]
Environmental Conditions | Extreme weather | Members of the public | Lead/asbestos | Prevention systems | Vapour emissions | Lighting | Requirements | Personnel protection | Earthquake | Eliminating | Ease | Operations | Inspection and testing | Sequence
External Safety Interfaces | Temperature | Traffic | Handling | Detection systems | Dust emissions | Air | Sequence | Safety showers | Flood | Isolating | Issues | Maintenance | Quality assurance | Timing, access
Toxicity | Ground | Adjacent property | Precautions | Fire protection | Effluent | Water |  | Barriers/guards | Thunderstorm (lightning protection) | Access | Documentation | Inspection and testing
Fire or Explosion | Noise | Power/services | Ventilation | Emergency isolation systems | Noise | Fuel/electricity |  |  | High winds |  |  | Sequence
Environmental Impact | Water | External fire/emergency plans |  | Inert atmosphere | Ground seepage | Oxygen | [5 empty] | Emergency
Utilities and Services |  | Day/night/weekend |  | Emergency procedures | Waste minimisation | Radio frequency electromagnetic radiation | [5 empty] | Records/reports
Commission or Start-up or Shutdown
Safety Equipment
Natural Hazards
Inspection or Testing
Demolition
Documentation
Quality Control
Construction Equipment
CHAIR 2
Guideword | Eliminate | Substitute | Combine | Avoid | Other Issue
[SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT]
Eliminate | Falls (of people) | Falls (of people) | Construction/lifting sequence | Construction/lifting sequence | Modification
Substitute | Falling material/objects | Falling material/objects | Timing | Timing/locations | Isolation
Combine | Stepping on or striking against objects | Stepping on or striking against objects | Locations | Temporary instability | Engineering controls
Avoid | Caught or trapped | Caught or trapped |  | Access/egress | Personnel Protection Equipment
Other Issue | Lifting and carrying - over exertion | Lifting and carrying - over exertion |  | Delays | Alter/re-arrange
| Asphyxiation/drowning | Asphyxiation/drowning |  | Confined space | Increase/reduce
| Machinery | Machinery |  | Erection/dismantling | Simplify/improve
| Electricity | Electricity |  | Heat/cold/noise
| Transport/mobile equipment | Transport/mobile equipment
| Toxicity, fire and explosion | Toxicity, Fire and explosion
CHAIR 3
Guideword |  | Assessment
[SELECT] |  | [SELECT]
Posture/manual handling |  | Good
Access/egress |  | Fair
Heights/dropped objects |  | Poor
Weight |  | N/A
Discomfort/stress
Personnel Protective Equipment
Visibility
Slips, trips, and falls
Rotating/moving equipment
Is repair different?
Others that may apply (list below)

## HAZOP Dropdown (hidden)
HAZOP Generic Guide Words | HAZOP Overview Gudiewords | Batch or Procedural HAZOP Gudiewords
Guide Word | Guide Word | Guide Word
[INSERT] | [INSERT] | [INSERT]
High Flow | Toxicity | NO (NOT OR NONE)
Low Flow | Service Required | MORE OF
Zero Flow, Empty | Materials of Construction | LESS OF
Reverse Flow / Misdirected Flow | Commissioning | MORE THAN or AS WELL AS
High Level | Start Up | PART OF
Low Level | Shutdown | REVERSE
High pressure (venting, relief rate) | Breakdown | SOONER / LATER THAN
Low pressure (venting, relief rate) | Effluent | OTHERS
High temperature | Noise
Low temperature | Fire / Explosion
Impurities (Gaseous, Liquid, Solid) | Safety Equipment
Change in composition / Change in concentration / Two phase flow / Reactions | Quality & Consistency
Different Water Quality | Reliability & Bottlenecks
Testing | Efficiency
Plant Items (O&M) | Simplicity
Electrical
Instruments
Sampling
Previous Incidents
P&ID Items

## CHAZOP Dropdown (hidden)
CHAZOP Guideword Dropdown
Category | Control Loop | Control Sequence | Communication Networks | Operator Interfaces (Local and Remote) | Power Supply | Hardware | Software | Security
[SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT] | [SELECT]
Control Loop | No Signal / SignaL Lost | No Sequence / Sequence Fails to Initiate | No / Complete Network Failure | No / Loss of Interface | No Power / Loss of Power | No /Total CPU or Sub-system Failure / Entire PLC Failure | Software Failure | Cyber Security
Control Sequence | More Signal/ High Signal / Out of Range Signal / Failed On | More Sequence / Sequence Fails to End | Partial / Incomplete Transmission | Incorrect Data | More / Over-Voltage Current Overload | Random Failure (i.e Cabinet, Controller, I/O Cards) | Change of Functionality in System Software / Incompatibility | Software Security Safeguards
Communication Networks | Less Signal / Low Signal / Failed Off | More / Operator Entries | More /Excessive Traffic / Alarm Flood | Less / Insufficient Data | Less / Under-Voltage Overload | Inappropriate Combination of I/O Channel | Memory Corrupted | Abnormal Behaviour
Operator Interfaces Local and Remote | Distortion of Signal/ Incorrect Signal / Frozen Signal / Other | Less / Sequence Stops Partway | Incorrect Addressing | More /Excessive Traffic / Alarm Flood | Reverse Current | Less / Partial Failure | Logical Structure | Loss of Functionality
Power Supply | As Well As / Interference | Less / Feedback Requirements | As Well As / Interference | Partial Failure | Partial Failure | More / CPU Over-Load | Control of Modifications | Breach of Confidentiality
Hardware | Scan Rate | Sequence Order Incorrect / Other |  |  | Maintainability | Other / Erratic Operation | Testing and Verification
Software | Tuning, Testing and Verification | Sequence Timing Incorrect / Other |  |  |  | Power Supplies / UPS | Adequate Documentation and Annotation
Security | Maintainability of Field Devices |  |  |  |  | Environment Impacts: Heat, Vibration, Rain
Reliability of Field Devices