## Cover Page (DELETE at TENDER)
Template
Engineering Standard I-TMP-STD-014
Instrument List
Document Number: TEM-00148
This document is the property of Seqwater. It must not be copied or reproduced in any way whatsoever without the authority of Seqwater. This document is uncontrolled when printed. An electronic database manages and stores the controlled version.
Rev no. | Description | Process Owner |  | Approved for issue
|  | Position | Name | Position | Name | Date
2 | Issued for Use | Lead Engineer - Electrical & Control Systems | Refer Supporting Info in REX | Principal Engineer Standards & Specifications | Refer Supporting Info in REX | 2017-10-26
3 | Revised Version | Lead Electrical Engineer | Refer Supporting Info in REX | Principal Engineering Standards and Assurance | Refer Supporting Info in REX | 2020-10-23
4 | Revised Version | Lead Electrical Engineer | Refer Supporting Info in REX | Principal Engineering Standards and Assurance | Refer Supporting Info in REX | 2025-11-28
Subject Matter Expert Authorisation
Rev no. | Name |  | Date |  | RPEQ #
4 | Refer Document Properties in REX |  | 2025-11-28 |  | Refer Doc Properties in REX
DOCUMENT SENSITIVITY: OFFICIAL (Public)

## Instrument List
NOTES
1. Abbreviations: Process and Instrumentation Diagram (P&ID), Programmable Logic Controller (PLC), Digital Input (DI), Digital Output (DO), Analogue Input (AI), Analogue Output (AO), Communications (COMMS).
ITEM | TAG NUMBER | DESCRIPTION | P&ID DRAWING | TERMINATION DRAWING | DATASHEET REFERENCE | INSTRUMENT CATEGORY | INSTRUMENT TYPE | POWER SUPPLY | SIGNAL | PROCESS MATERIAL | MEASURING RANGE | CALIBRATION RANGE | HAZ. AREA | MANUFACTURER | MODEL | SERIAL No | REMARKS
1 | SPV-I-1FE123 | Raw Water Flow Meter Sensor | B-DWG-SPV-00015 | I-DWG-SPV-00100 | I-DSH-SPV-050 | Flow Meter | Magnetic | Proprietary | Proprietary | Raw Water | 0.0-100.0 l/s | 0.0-100.0 l/s | No
2 | SPV-I-1FIT123 | Raw Water Flow Meter Transmitter | B-DWG-SPV-00015 | I-DWG-SPV-00100 | I-DSH-SPV-050 | Flow Meter | Magnetic | 24VDC | 4-20mA | Raw Water | 0.0-100.0 l/s | 0.0-100.0 l/s | No
3 | SPV-I-1LSH456 | Sump Level Switch High | B-DWG-SPV-00016 | I-DWG-SPV-00110 | I-DSH-SPV-060 | Level Switch | Float | 24VDC | Digital | Raw Water | - | - | No
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
Notes:
The contents of the title block are to be modified on the sheet labelled "Title Block".
Information within body of template is for example only.
This text box shall be deleted when the template is populated

## Title Block
REVISIONS | [6 empty] | CONTRACTOR LOGO | FACILITY: eg. PLACEVILLE RAW WATER PUMP STATION
NO. | DESCRIPTION | DATE | PREPARED | RPEQ | RPEQ No. | APPROVED
WORK DESCRIPTION: eg. RWPS REFURBISHMENT
SEQWATER PROJECT NO.: XXXXXXXX
DOC. NO.: I-LST-AAA-NNN
INSTRUMENT LIST
Notes:
Information within body of template is for example only.
This text box shall be deleted when the template is populated.