## Cover Page (DELETE at TENDER)
Template
I-TMP-STD-016
Turbidity Analyser Datasheet
Document Number: TEM-00352
This document is the property of Seqwater. It must not be copied or reproduced in any way whatsoever without the authority of Seqwater. This document is uncontrolled when printed. An electronic database manages and stores the controlled version.
Rev no. | Description | Process Owner |  | Approved for issue
|  | Position | Name | Position | Name | Date
1 | Original Release | Lead Electrical Engineer | Refer Supporting Info in REX | Principal Engineering Standards and Assurance | Refer Supporting Info in REX | 2022-11-25
Subject Matter Expert Authorisation
Rev no. | Name |  | Date |  | RPEQ #
1 | Refer Document Properties in REX |  | 2022-11-24 |  | Refer Document Properties in REX
DOCUMENT SENSITIVITY: OFFICIAL (Public)

## Turbidity Analyser Datasheet
|  |  | TURBIDITY ANALYSER | [5 empty] | [INSERT CONTRACTOR LOGO]
DATASHEET
Template may be updated and should be accessed from official location prior to each use. Uncontrolled copy valid only at time of printing.
DATA SHEET NUMBER |  | I-DSH-XXX-XXX | REV | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
REX ID |  | DXX/XXXXX
PROJECT NUMBER |  | XXXXXXXX
PROJECT DESCRIPTION |  | XXXXXXXX
ASSET LOCATION |  | XXXXXXXX
TAG NUMBER |  | XXXXXXXX
P&ID |  | XXXXXXXX
ITEM | DESCRIPTION |  | UNIT | CLIENT / DESIGNER REQUIREMENT |  |  |  |  | VENDOR / CONTRACTOR DATA | REVISION
1 | GENERAL | Manufacturer | - | *
2 |  | Measuring Range (min/max) | NTU
3 |  | Accuracy | ± % of reading
4 |  | Repeatability | ± % of reading
5 |  | Resolution | NTU
6 |  | Response Time | s | *
7 |  | Response Time Flow Rate | mL/min | *
8 |  | Automatic Self Cleaning | Y/N | *
9 |  | Manufacturers Data Sheet (non generic) | Y/N | Y
10 |  | Turbidity Measurement Standard | - | ISO 7027-1
11 |  | Australian RCM marking | Y/N | Y
12 |  | Equipment Electrical Safety Standard | - | AS 61010.1 / IEC 61010-1 / EN 61010-1
13 |  | Drinking Water Compatibility | - | AS/NZS 4020
14 |  | Ambient Temperature (min/max) | ◦C | 0/45
15 |  | Relative Humidity (min/max) | % | 10/95
16 | PROCESS DATA | Process Medium | - | Treated Water
17 |  | Instrument Function | - | Turbidity Monitoring
18 |  | Sample Pressure (Min/Max) | kPa
19 |  | Sample Temperature (Min/Max) | °C | 0/45
20 |  | Sample Flow Range (Min/Max) | L/s
21 |  | Sample Line Connection - Type | - | *
22 |  | Sample Line Connection - Size | - | *
23 | ANALYSING ELEMENT | Element Model No. | - | *
24 |  | Measuring Principle | - | Light Technology
25 |  | Material - Wetted Parts | - | *
26 |  | Material - Body | - | *
27 |  | Ingress Protection Rating | IP | min. 54
28 |  | Cable Length | m | *
29 |  | Compensation | - | N/A
30 | ANALYSER INDICATING TRANSMITTER | Transmitter Model No. | - | *
31 |  | Transmitter (Integral/Remote) | - | Remote
32 |  | Mounting Location | - | Wall Mounted adjacent to element
33 |  | Enclosure Material | - | *
34 |  | Enclosure Ingress Protection Rating | IP | min. 54
35 |  | Power Supply | VDC/VAC | 24VDC +/-20%
36 |  | Operating Voltage | V | *
37 |  | Power Consumption | W | *
38 |  | Sensor Inputs | Qty. | *
39 |  | Communications | - | N/A
40 |  | 4-20mA Outputs | Qty. | min. 1 (For Raw Water Applications, min. 2)
41 |  | Relay Outputs | Qty. | min. 2
42 |  | Cable Entries (Glanded) | Qty. | *
43 |  | Maintenance/On Hold Function - Local | - | Disabled and password protected
44 |  | Maintenance/On Hold Function - Remote | - | Will be undertaken in SCADA
45 | NOTES | 1. Item denoted by * to be supplied by Vendor.
46 |  | 2. Item left blank in the "Client/Designer" column is to be completed by the designer.
47 |  | 3. Item with drop-down list in the "Client/Designer" column is to be completed by the designer.
48 |  | 4. Vendor/Contractor must complete this datasheet and guarantee the particulars for each item offered for approval.
49 |  | 5. This data sheet must be read in conjunction with the Turbidity Analysers Standard Specification I-SPE-STD-016.

## Asset Location List (hidden)
Area | Asset Type | Asset Name
Central | Store | Atkinson Dam
Central | Store | Bill Gunn Dam
Central | Store | Gold Creek Dam
Central | Store | Lake Manchester Dam
Central | Store | Somerset Dam
Central | Store | Wivenhoe Dam
Central | Treat | Banksia Beach WTP
Central | Treat | Esk WTP
Central | Treat | Kirkleagh (Recreation) WTP
Central | Treat | Lowood WTP
Central | Treat | Mount Crosby East Bank WTP
Central | Treat | Mount Crosby West Bank WTP
Central | Other | Camerons Hill Reservoir (Site Type: WTP)
Central | Other | Cormorant Bay SPS (Site Type: WTP)
Central | Other | Lumley Hill Reservoir (Site Type: WTP)
North | Store | Baroon Pocket Dam
North | Store | Borumba Dam
North | Store | Cedar Pocket Dam
North | Store | Cooloolabin Dam
North | Store | Enoggera Dam
North | Store | Ewen Maddock Dam
North | Store | North Pine Dam
North | Store | Poona Dam
North | Store | Sideling Creek Dam
North | Store | Wappa Dam
North | Treat | Borumba Dam WTP
North | Treat | Dayboro WTP
North | Treat | Enoggera WTP
North | Treat | Ewen Maddock WTP
North | Treat | Image Flat WTP
North | Treat | Jimna WTP
North | Treat | Kenilworth WTP
North | Treat | Kilcoy WTP
North | Treat | Landers Shute WTP
North | Treat | Linville WTP
North | Treat | Noosa WTP
North | Treat | North Pine WTP
North | Treat | Petrie WTP
North | Other | Linville Reservoir (Site Type: WTP)
South | Store | Hinze Dam
South | Store | Leslie Harrison Dam
South | Store | Little Nerang Dam
South | Store | Maroon Dam
South | Store | Moogerah Dam
South | Store | Nindooinbah Dam
South | Store | Wyaralong Dam
South | Treat | Amity Point WTP
South | Treat | Beaudesert WTP
South | Treat | Boonah-Kalbar WTP
South | Treat | Canungra WTP
South | Treat | Capalaba WTP
South | Treat | Dunwich WTP
South | Treat | Hinze Dam WTP
South | Treat | Kooralbyn WTP
South | Treat | Maroon Dam WTP
South | Treat | Molendinar WTP
South | Treat | Moogerah Dam WTP
South | Treat | Mudgeeraba WTP
South | Treat | North Stradbroke Island WTP
South | Treat | Point Lookout WTP
South | Treat | Rathdowney WTP