## Maintenance Input Worksheet
Maintenance Input Worksheet
Note:- Reference X-FRA-STD-003 'Document number: ​FRA-00011' for Definitions
Applicant | First Name* |  |  | Last Name*
| Position* |  |  | Department*
| Email |  |  | Request Date*
Location | Region* |  | Site Type* | Site Name*
| eg. Central |  | e.g WTP | e.g Mount Crosby Water Treatment Plant
Project Title* |  |  |  | APMP/PID Project Code
Asset ID | Asset Class | Asset Sub Class | Task Frequency |  | Frequency Units |  | Task Number | Task Description | Task Duration (hrs.) | Labour Type (Scheduling Resource) | Units (QTY) of Labour Type (Scheduling Resource) | Commissioned Date | Work Order Group (number starting at 1 and counting upwards) | O&M Provided (Y/N) | OEM Reference | Equipment Calibration & Testing Documents | Instrumentation Calibration Certificates | Warranty Y/N? | Warranty Period Maintenance Requirements & Schedules | Maintenance Checklists during Warranty Period | OEM Reference | Supplier/ Manufacturer | Equipment | Estimated Down Hours | Further Information/Comments | PID | Tag
EXAMPLE:
106597 | Instrumentation | Fluid Flow Meter -Electromagnetic (Bulk Water) Non-Billing | Year |  | 1 |  | 1 | Visually inspect Flow Meter for leaks/Damage | 0.5 | Operator | 1 | 2025-04-01
[7 empty] | 2 | Calibrate and Verify the Flowmeters listed on the work order | 2 | Krohne Instrument Tech | 1
Registerable Assets | Have any registerable assets been installed e.g. passenger lifts or pressure vessels? |  |  |  |  | (Yes/No)
| Have the asset/s been registered? |  |  |  |  | (Yes/No)
| REX folder for Manufacturers Data Report |  |  |  |  | FXX/XX
Office Use Only | Maintenance Planner Name |  | Maintenance Plannner Name
| Mainpac Updated |  | Yes
| Completion Date |  | 2024-10-30
| Status |  | Completed
DOCUMENT SENSITIVITY: OFFICIAL (Public)