## Introduction and tips
Introduction
On 13 May 2014 specific changes to the Water Supply (Safety and Reliability) Act 2008 were enacted. These changes aim to simplify regulatory requirements. Relevant service providers are required to: collect data on a pre-determined list of key performance indicators; and submit a performance report about each of the indicators each financial year. Each relevant service provider will have received a ‘Report requirement notice’ detailing the key performance indicators which are to be reported on. This template is designed to assist service providers in completing their performance report as contained in section 142A(3)(a) of the Water Supply (Safety and Reliability) Act 2008. This template can be used in the place of reporting via the SWIM database available from the Queensland Water Directorate. A copy of the performance report must be supplied to the regulator each year on or before 1 October occurring immediately after the financial year ends. It must be supplied using one of the following methods: Hard copy to: Water Supply Regulation, Operations Support, Department of Natural Resources, Mines and Energy, PO Box 15216 City East, Brisbane, QLD, 4002. Electronically to: drinkingwater.reporting@dnrme.qld.gov.au
Tips for completing the template
Inserting a new scheme The annual performance reporting template has capacity for three (3) schemes providing: a potable water service (columns H-J); a non-potable water service (columns K-M); or sewerage services (columns N-P). If you have more than 3 schemes under any of these headings or would like to add a recycled water scheme, additional columns can be inserted. Simply select the entire middle column under the required service, right click the mouse, and select insert. A new column containing relevant data validation and information will be inserted.
Grey coloured cells do not require a response To assist service providers cells which do not require a response to be entered are shaded grey. Please do not enter a response into these cells. For example, for service provider wide indicators all cells excluding the ‘Whole of provider’ column (column G) are shaded grey.
Locating the indicator definition The definition for each indicator has been included in the annual performance reporting template. Simply click on the ‘+’ icon on the left-hand side of the relevant indicator. This will expand the indicator definition. To hide the detail simply click on the ‘-‘ icon. For more detailed information on each indicator, including notes and examples, please refer to the ‘Key Performance Indicators for Queensland Urban Water Service Providers Definitions Guide’ located on the DEWS website https://www.business.qld.gov.au/industries/mining-energy-water/water/sewerage-service-providers/industry-regulation/performance-reporting/requirements
Locating the SWIM indicator code The correlating Statewide Water Information Management (SWIM) code can be viewed by simply clicking on the ‘+’ icon above column F. This will expand the SWIM code information. To hide detail simply click on the ‘-‘ icon.
Using the ‘Service provider comments’ column Service providers may wish to include a comment on a response entered using the ‘Service provider comments’ column (column Q). This may include: a matter that impacted on, improved or deteriorated performance; an issue of future concern identified through reporting; or any strategies to deal with issues of concern. Alternatively, a service provider may include this information or other comments in the ‘Notes’ tab of the worksheet.
Entering data within the accepted responses Data validation has been included for each cell requiring a response. A list of accepted responses for each indicator is located on the outer right edge of the spreadsheets (columns S-Y, click on the ‘+’/’-‘ icon to expand/hide detail). A warning message will appear if a response is entered outside of these parameters.
The following reporting rules apply when the indicator is not relevant or there is no data for the indicator Use NR (Not Relevant) when the activity associated with the indicator has never been done or was not done during the reporting year. Use MD (Missing Data) when you do not know how much or cannot reasonable estimate the data associated with the indicator. This was previously recorded as No Data (ND). Use 0 (Zero) when the activity associated with the indicator is usually done but for the reporting year you did not do the activity e.g a recycling activity was suspended during the reporting year You must use MD for indicator where there is no data available; do not use '0'

## Performance reporting template
Department of Natural Resources, Mines and Energy - Relevant Water Service Provider Annual Performance Reporting Template
| Indicator code | Indicator name | NPR code | SWIM code | Reporting/units | Whole of provider | Water services | [5 empty] | Sewerage services |  |  | Service provider comments | Accepted responses
[7 empty] | Potable water service |  |  | Non-potable water service | [6 empty] | Lower range |  | Upper range |  | Text responses
[7 empty] | Seqwater | <insert scheme name> | <insert scheme name> | Seqwater | <insert scheme name> | <insert scheme name> | <insert scheme name> | <insert scheme name> | <insert scheme name> | insert comments on indicators/responses if desired
| QG 1.1 | Lengths of water mains | - | AS2 | km: one decimal place |  | 859 | [8 empty] | Treated water mains: 644.6 Recycled water mains: 214.4 100% accuracy is not guaranteed. | > | 0.1 | <= | 10000 | NO DATA
The total length of water mains including delivering potable and non-potable water for urban areas. INCLUDES: P transfer, distribution and reticulation mains P recycled water distribution and reticulation mains EXCLUDES: × mains associated with property water service (mains to meter) connections × mains delivering recycled water for non-urban uses, e.g. agriculture reuse × disused pipe lengths should not be counted, even if they are maintained by the water utility for possible future use × privately owned mains × mains associated with source works, e.g. borefield mains × mains and channels associated with sources that transfer raw water × recycled water mains not supplying water direct to customers × mains associated with facilities, e.g. mains within pump stations, storage facilities or treatment plants
| QG 1.2 | Length of sewerage mains | - | AS5 | km: one decimal place | [7 empty] | NR |  |  |  | > | 0.1 | <= | 10000 | NO DATA
The total length of mains, including all trunk, pressure and reticulation mains. INCLUDES: P combined sewerage and stormwater mains EXCLUDES: x lengths associated with property connection sewers or conduits carrying treated effluent x conduits and pipelines (e.g. feeding paddocks for grass and land filtration)
| QG 1.3 | Number of sewage treatment plants | - | AS4 | sewage treatment plants: as a whole number | [7 empty] | NR |  |  |  | >= | 0 | <= | 15 | NO DATA
The total number of sewage treatment plants providing sewerage services to customers. INCLUDES: P all primary, secondary and tertairy level treatment plants
| QG 1.4a | Number of water treatment plants | - | AS1 | water treatment plants: as a whole number |  | 30 | [8 empty] | Does not include: - Petrie WTP - decommissioned in March 2018 - Western Corridor Recycled Water Scheme - care and maintenance mode - Recreation WTPs Does include: - Gold Coast Desalination Plant - in standby mode; operating to support operational requirements (4-10th Oct 2017; 13-17th Nov 2017 & 22nd May-30th June 2018) | >= | 0 | <= | 20 | NO DATA
Number of water treatment plants providing full water treatment EXCLUDES: × disinfection only schemes × secondary disinfection even when there is pH correction
| QG 1.4b | Capacity of water treatment plants | - | AS47 | megalitres per day: two decimal places |  | 1586.6 | [8 empty] | Does not include: - Climate Resilience water source asset - Western Corridor Recycled Water Scheme - currently in care and maintenance mode Does include: --- Gold Coast Desalination Plant - capacity of 45,625/annum in hot standby mode operating up to capacity when required. | > | 0.1 | <= | 1000 | NO DATA
Daily reliable production capacity of water treatment plants providing full water treatment and producing potable water. Excludes × disinfection only schemes × secondary disinfection even when there is pH correction
| QG 1.5 | Maximum daily demand | - | WA201 | megalitres per day as a whole number |  | 1073 | [8 empty] | Reported based on potable water only. Maximum daily volume is calculated using 7-days rolling average considering the catch-up/filling days in Operations | > | 0.1 | <= | 1000 | NO DATA
The greatest daily demand for potable and non-potable water recorded in the reporting year.
| QG 1.6 | Total volume of potable water produced | - | WA74 | megalitres: as a whole number |  | 308520 | [9 empty] | > | 0.1 | <= | 200000 | NO DATA
|  | The annual total volume of potable water produced by all water treatment plants in the scheme and/or for schemes where there are no water treatment plants, the annual total volume of water extracted for supply as potable water. EXCLUDES: × recycled water × urban stormwater | [14 empty] | >
| QG 1.7 | Total potable water storage | - | AS48 | megalitres: one decimal place |  | 1361.1 | [9 empty] | >= | 0 | <= | 2500 | NO DATA
|  | Total available storage capacity for potable water (assuming no further production). | [14 empty] | >
| QG 1.8 | Volume of water sourced from surface water | - | WA1 | megalitres: as a whole number | 326398 | 298320 |  |  | 27050 | [5 empty] | Includes volumes for treated and raw water supply | >= | 0 | <= | 230000 | NO DATA
|  | The annual total volume of water (potable and non-potable) abstracted by the service provider from surface water sources for a scheme. INCLUDES: P dams P rivers or irrigation channels P surface water desalination | [14 empty] | > |  | <=
| QG 1.9a | Volume of water sourced from groundwater | - | WA2 | megalitres: as a whole number | 13368 | 7396 |  |  | 5972 | [5 empty] | Includes volumes for treated and raw water supply | >= | 0 | <= | 230000 | NO DATA
|  | The annual total volume of water (potable and non-potable) extracted from groundwater. INCLUDES: P groundwater desalination | [14 empty] | >
| QG 1.9b | Volue of water received from bulk supplier | - | WA45 | megalitres: as a whole number |  | NR | [9 empty] | >= | 0 | <= | 230000 | NO DATA
|  | The annual total volume of water (potable and non-potable) received from another service provider or entity outside of the providers’ area of responsibility. INCLUDES: ü water from recycled sewage ü urban stormwater received ü water that is subsequently exported to another service provider | [14 empty] | >
| QG 1.10 | Volume of water sourced from desalination of marine water | - | WA61 | megalitres: as a whole number |  | 2803 | [9 empty] | >= | 0 | <= | 230000 | NO DATA
|  | The annual total volume of water (potable and non-potable) sourced from desalination plants for a scheme. INCLUDES: P marine water sources EXCLUDES: × groundwater sources × surface water sources | [14 empty] | >
| QG 1.11 | Total recyled water supplied | - | WA26 | megalitres: as a whole number |  | 5 | [8 empty] | Supplied for own use for AWTP maintenance | >= | 0 | <= | 100000 | NO DATA
|  | The sum of all treated effluent that is used by either the water utility itself, a business supplied by the service provider, or supplied through a third-pipe system for urban reuse. INCLUDES: P recycled water provided for on-site reuse, agriculture, irrigation, industry, potable or other use external to the treatment process P potable and non-potable water P volumes taken by sewer mining EXCLUDES: × evaporation x urban stormwater | [14 empty] | > |  | <=
| QG 1.12 | Total water sourced | - | WA7 | megalitres: as a whole number | 341546 | 308520 |  |  | 33026 | [6 empty] | > | 0 | <= | 230000 | NO DATA
|  | The sum of the annual total volume of water sourced. INCLUDES water sourced from: P surface water (QG 1.8) P groundwater (QG 1.9a) P bulk supplier (QG 1.9b) P marine desalination (QG 1.10) P recycling (QG 1.11) P urban stormwater used P any other sources | [14 empty] | > |  | <=
| QG 1.13 | Connected residential properties - water supply | - | CS2 | connected residential properties - water supply: thousands to 3 decimal places |  | NR | [9 empty] | >= | 0 | <= | 200 | NO DATA
|  | Number of residential water properties that are: • connected to the service provider's water system • the subject of billing for water supply collection - fixed and/or consumption based • any property which, at the end of the reporting period, is connected to the water system and is separately billed for the water services - fixed and/or consumption based INCLUDES: P a connected, rateable residential property P a connected, non-rateable residential property P a connected but non-metered residential property EXCLUDES: x a rated but unconnected property (e.g. vacant lot) x body corporate x a non-real property or strata garages (e.g a master meter for a block of separtely metered strata title flats) | [14 empty] | > |  | <=
| QG 1.14 | Connected non-residential properties - water supply | - | CS3 | connected non-residential properties - water supply: thousands to 3 decimal places |  | NR | [9 empty] | >= | 0 | <= | 100 | NO DATA
|  | Number of non-residential properties that are: • connected to the service provider's water system • the subject of billing for water supply collection - fixed and/or consumption based • any property which, at the end of the reporting period, is connected to the water system and is separately billed for the water services - fixed and/or consumption based INCLUDES: P a connected, rateable non-residential property P a connected, non-rateable non-residential property P a connected but non-metered non-residential property P standpipes P public facilities EXCLUDES: x a rated but unconnected non-residential property (e.g. vacant lot) x body corporate a non-real property or strata garages (e.g a master meter for a block of separately metered strata title flats) | [14 empty] | >
| QG 1.15 | Connected residential properties - sewerage | - | CS6 | connected residential properties - sewerage: thousands to 3 decimal places | [7 empty] | NR |  |  |  | >= | 0 | <= | 200 | NO DATA
|  | Number of residential water properties that are: • connected to the service provider's sewerage system • the subject of billing for water supply collection - fixed and/or usage based • any property which, at the end of the reporting period, is connected to the sewerage system and is separately billed for the sewerage services - fixed and/or usage based INCLUDES: P a connected, rateable residential property P a connected, non-rateable residential property P a connected but non-metered residential property EXCLUDES: x a rated but unconnected property (e.g vacant lot) x body corporate x a non-real property or strata garages (e.g a master meter for a block of separtely metered strata title flats) | [14 empty] | >
| QG 1.16 | Connected non-residential properties - sewerage | - | CS7 | connected non-residential properties - sewerage: thousands to 3 decimal places | [7 empty] | NR |  |  |  | >= | 0 | <= | 100 | NO DATA
|  | Number of non-residential properties that are: • connected to the service provider's sewerage system • the subject of billing for water supply collection - fixed and/or usage based • any property which, at the end of the reporting period, is connected to the sewerage system and is separately billed for the sewerage services - fixed and/or usage based INCLUDES: P a connected, rateable non-residential property P a connected, non-rateable non-residential property P a connected but non-metered non-residential property P public facilities EXCLUDES: x a body corporate x a rated but unconnected non-residential property (e.g vacant lot) x a non-real property or strata garages (e.g a master meter for a block of separately metered strata title flats) | [14 empty] | >
| QG 1.17a | Volume of potable water supplied - residential | - | WA202/WA32 | megalitres: as a whole number |  | NR | [9 empty] | >= | 0 | <= | 200000 | NO DATA
Total metered and estimated non-metered, potable water supplied to residential properties from the water supply scheme for the reporting period. INCLUDES: P potable water supplied to a residential connections whether it is treated or not P recycled water and stormwater for potable use
| QG 1.17b | Volume of non-potable water supplied - residential | - | WA204/WA91 | megalitres: as a whole number |  |  |  |  | NR | [6 empty] | >= | 0 | <= | 200000 | NO DATA
Total metered and estimated non-metered non-potable water supplied to residential properties from the water supply scheme for the reporting period. INCLUDES: ü non-potable water supplied to residential connections whether it is treated or not ü recycled water and stormwater for non-potable use
| QG 1.18a | Volume of potable water supplied - commerical, municipal and industrial | - | WA203/WA34 | megalitres: as a whole number |  | NR | [9 empty] | >= | 0 | <= | 200000 | NO DATA
Total metered and estimated non-metered, potable water supplied to commercial, municipal and industrial properties for the reporting period. INCLUDES: P potable water supplied to a commercial, municipal and industrial connections whether it is treated or not P recycled water and stormwater for potable use
| QG 1.18b | Volume of non-potable water supplied - commerical, municipal and industrial | - | WA205/WA92 | megalitres: as a whole number |  |  |  |  | NR | [6 empty] | >= | 0 | <= | 200000 | NO DATA
Total metered and estimated non-metered, non-potable water supplied to commercial, municipal and industrial properties for the reporting period. INCLUDES: P non-potable water supplied to a commercial, municipal and industrial connections whether it is treated or not P recycled water and stormwater for non-potable use
| QG 1.19 | Volume of potable non-revenue water | - | WA36 | megalitres: as a whole number |  | NR | [9 empty] | > | 0 | <= | 200000 | NO DATA
|  | The volume of potable water consumed that does not generate revenue for the service provider. Calculated using the volume of potable water produced (QG 1.6) less the volume of potable water supplied to residential (QG 1.17a) and the volume of potable water supplied to commercial, municipal and industrial (QG 1.18a) INCLUDES: P unbilled authorised potable water consumption (e.g fire-fighting, water treatment process water, flushing) P unauthorised potable water consumption (e.g illegal theft) P customer metering errors P leakage and overflow of potable water from mains, service reservoirs, bursts from mains and service connections prior to customer meters EXCLUDES: × volume of residential potable water supplied × volume of commercial, municipal and industrial potable water supplied × volume of recycled water potable water supplied × volume of stormwater potable water supplied | [14 empty] | >
| QG 1.20 | Total Full-Time Equivalent water and sewerage services employees | - | WF1 | full-time equivalent: one decimal place | 756 | [9 empty] | 609 FTE Permanent Employees 147 FTE Fixed Term Employees Excludes contractors as unable to differentiate and not all contractors are captured in HR system. | > | 0 |  | 100 | NO DATA
|  | The total number of personnel involved in delivering water and sewerage services at the end of the reporting period including administrative and maintenance services, whether direct employees or indirect employees eg. contractor staff. INCLUDES: P operational employees P administrative employees P maintenance employees P laboratory employees P contractors employed in these areas EXCLUDES: × contractors employed in constructing or upgrading a plant or network as a one off | [14 empty] | >
| QG 2.1 | Months of supply remaining at end of reporting period (30 June) | - | WS1 | months |  | 72 | [8 empty] | An indicative number of months the key bulk water storages are likely to remain above minimum operating level and therefore able to maintain supply was determined to be at least 72 months. This was obtained based on: • Water use as per the medium demand projection. • Storage levels as of the 31st July 2017. • Assuming the lowest inflows in the stochastic data set into the Key Bulk Water storages occurring over the next ten years. This conservative assumption was used as there is a high likelihood that inflows into the storages for the coming wet season and possibly beyond will be very low due to: • Extremely dry catchments • Forecast for higher than average temperatures which will increase evaporation rates • Forecast for less than median rainfall through to the end of NovembeR | >= | 0 | <= | 72 | NO DATA
|  | The number of months of (potable and non-potable) supply remaining based on total anticipated water demand (QG 2.4) and excluding contingency supplies (QG 2.3). | [14 empty] | > |  | <=
| QG 2.2 | Anticipated water supply availability to meet demand for next reporting year (at QG 2.4) Only required if response to QG2.1 < 12 months | - | WS2 | OK/NOT OK Insert text response if NOT OK | OK | OK | [14 empty] | OK | NOT OK
The service provider’s statement on water supply availability to meet demand for next reporting year. Reported as OK/NOT OK. If NOT OK, the service provider to provide a text response outlining the anticipated threat.
| QG 2.3 | Available contingency supplies Only required if response to QG2.1 < 6months | - | WS3 | YES/NO Insert text response for both YES and No responses | NR | [15 empty] | YES | NO
The service provider's statement describing the available contingency supplies. INCLUDES: P the nature of the contingency supply source/s P the absolute capacity (ML/a) of the contingency supply source/s P the expected time taken to implement the contingency supply P any other information
| QG 2.4 | Total anticipated water demand for next reporting year | - | WS4 | megalitres: as a whole number |  | 328599 | [9 empty] | > | 0 | <= | 230000 | NO DATA
|  | The total anticipated (potable and non-potable) water demand for the next reporting year. | [14 empty] | >
| QG 2.5 | Total anticipated annual water demand in five years' time | - | WS5 | megalitres: as a whole number |  | 374350 | [9 empty] | > | 0 | <= | 230000 | NO DATA
|  | The total anticipated annual (potable and non-potable) demand for water in the year five years after the reporting year. | [14 empty] | >
| QG 2.6 | Anticipated capacity to meet demand in five years' time | - | WS6 | OK/NOT OK Insert text response if NOT OK | OK | OK | [14 empty] | OK | NOT OK
|  | The service provider’s statement on capacity to meet annual demand in the year five years after the reporting year (QG 2.5). Reported as OK/NOT OK. If NOT OK, the service provider to provide a text response describing the anticipated threat. | [14 empty] | > |  | <=
| QG 2.7 | Planned supply system response Only required if response to QG2.6 is reported as "not ok" | - | WS7 | YES/NO Insert text response if YES | NR | [15 empty] | YES | NO
|  | A text response describing the planned system supply response actions. INCLUDES, but not limited to: P demand management P leakage management P source substitution P efficiency programs P supply system augmentation P savings / contribution of the actions in absolute volume (ML/a) P changes to tariff structure P and any other information | [14 empty] | > |  | <=
| QG 2.8 | Water restrictions (duration) | - | WS10 | days: as a whole number |  | NR | [9 empty] | >= | 0 | <= | 12 | NO DATA
|  | The number of days in the reporting year where water restrictions (of any level) were applied. | [14 empty] | > |  | <=
| QG 2.9 | Water restrictions (severity) Only required if response to QG 2.8 > 0 | - | WS9 | percentage: as a whole number |  | NR | [9 empty] | > | 0 |  |  | NO DATA
|  | Demand reductions achieved for the most severe restriction implemented in the current reporting year. INCLUDES: P restrictions for maintenance purposes EXCLUDES: × restrictions on recycled water | [14 empty] | >
| QG 3.1 | Total water supply capital expenditure | - | FN14 | thousands of dollars ($'000s): to nearest $'000 | 93091 | [10 empty] | >= | 0 | <= | 100000 | NO DATA
|  | The actual capital expenditure on water supply for the reporting year. INCLUDES: P new works P renewals or replacements P other expenditure that would otherwise be referred to as capital P recycling water assets (see definition of recycled water) P plant and equipment | [14 empty] | >
| QG 3.2 | Total sewerage capital expenditure | - | FN15 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | >= | 0 | <= | 100000 | NO DATA
|  | The actual capital expenditure on sewerage services for the reporting year. INCLUDES: P new works P renewals or replacements P other expenditure that would otherwise be referred to as capital P plant and equipment EXCLUDES: × recycling water assets (see definition of recycled water) | [14 empty] | > |  | <=
| QG 3.3 | Capital works grants - water | - | FN26 | thousands of dollars ($'000s): to nearest $'000 | 11382 | [10 empty] | >= | 0 | <= | 10000 | NO DATA
|  | Total capital works grants funds received within the reported financial year from governments for water specific capital works. INCLUDES: grants for water recycling | [14 empty] | >
| QG 3.4 | Capital works grants - sewerage | - | FN27 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | >= | 0 | <= | 10000 | NO DATA
|  | Total capital works grants funds received within the reported financial year from governments for sewerage specific capital works. EXCLUDES: grants for water recycling (included in QG 3.3) | [14 empty] | >
| QG 3.5 | Nominal written-down replacement cost of fixed water supply assets | - | FN9 | thousands of dollars ($'000s): to nearest $'000 | 6911397 | [10 empty] | > | 0 | <= | 2000000 | NO DATA
|  | The current cost of replacing fixed water supply assets with modern equivalent assets that would deliver the same service potential (capacity), written down by the accumulated depreciation since the asset was installed plus any residual value. INCLUDES: fixed recycled water assets | [14 empty] | > |  | <=
| QG 3.6 | Nominal written-down replacement costs of fixed sewerage assets | - | FN10 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | > | 0 | <= | 2000000 | NO DATA
|  | The current cost of replacing of fixed sewerage assets with the modern equivalent assets that would deliver the same service potential (capacity), written down by the accumulated depreciation since the asset was installed plus any residual value. EXCLUDES: fixed recycled water assets | [14 empty] | > |  | <=
| QG 3.7 | Current replacement costs of fixed water supply assets | - | FN74 | thousands of dollars ($'000s): to nearest $'000 | 9775317 | [10 empty] | > | 0 | <= | 2000000 | NO DATA
|  | The lowest it would cost to replace the existing water assets with new (i.e not second hand), modern equivalent assets. INCLUDES: √ replacement of water recycling assets | [14 empty] | > |  | <=
| QG 3.8 | Current replacement costs of fixed sewerage assets | - | FN75 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | > | 0 | <= | 2000000 | NO DATA
|  | The lowest it would cost to replace the existing sewerage assets with new (i.e. not second hand), modern equivalent assets. EXCLUDES: √ replacement of water recycling assets | [14 empty] | >
| QG 3.9 | Total revenue – water | - | FN1 | thousands of dollars ($'000s): to nearest $'000 | 882825 | [10 empty] | > | 0 | <= | 50000 | NO DATA
|  | Total revenue from water services. INCLUDES (but not limited to): P revenue from pay-for-use and base-rate charges for provision of water (including recycled water) to residential and non-residential customers P special levies P all contributed cash and assets (otherwise known as gifted assets, developer charges or headworks contributions) P receipts from governments for specific agreed services (e.g. community service obligations) P other revenue from operations which would otherwise be included P revenue from bulk water sales (for those businesses that supply bulk water) EXCLUDES: × funds received for specific capital works from governments or other parties × equity contributions from governments × investment activities × non-core service provider activities (e.g. consulting, agriculture, property leases) × income from net asset sales | [14 empty] | >
| QG 3.10 | Total revenue – sewerage | - | FN2 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | > | 0 | <= | 50000 | NO DATA
|  | Total revenue from sewerage services. INCLUDES (but not limited to): P revenue from pay-for-use and base-rate charges for provision of sewerage services to residential and non-residential customers P special levies P all contributed cash and assets (otherwise known as gifted assets, developer charges or headworks contributions) P receipts from governments for specific agreed services (e.g. community service obligations) P other revenue from operations which would otherwise be included EXCLUDES: × funds received for specific capital works from governments or other parties × equity contributions from governments × investment activities × non-core service provider activities (e.g. consulting, agriculture, property leases) × income from net asset sales | [14 empty] | >
| QG 3.11 | Operating cost - water | - | FN11 | cost per property - water supply: as a whole number | NR | [10 empty] | > | 0 | <= | 2000 | NO DATA
|  |  | - | FN11.1 | cost per megalitre (bulk providers only): as a whole number | 753 | [10 empty] | > | 0 | <= | 2000 | NO DATA
The operating costs (operation, maintenance, administration) of a service provider. INCLUDES: P water resource access charge or resource rent tax P purchases of raw, treated or recycled water P salaries and wages including proportion of salaries and wages for FTEs shared across local governments as detailed in QG 1.20 P overheads on salaries and wages including proportion of overheads on salaries and wages for FTEs shared across local governments as detailed in QG 1.20 P materials, chemicals and energy used P contracts P accommodation P all other operating costs that would normally be reported P items expensed from work in progress (capitalised expense items) and pensioner remission expenses (CSOs). (CSOs are likely to have an equivalent inclusion in revenue) P competitive neutrality adjustments, which include but are not limited to land tax, debits tax, stamp duties and council rates P Indirect costs should be apportioned to water and sewerage services EXCLUDES: × depreciation × any write-downs of assets to recoverable amounts × write-offs, retired or scrapped assets × the written-down value of assets sold × interest
| QG 3.12 | Operating cost - sewerage | - | FN12 | cost per property - sewerage: as a whole number | NR | [10 empty] | > | 0 | <= | 1000 | NO DATA
The operating costs (operation, maintenance, administration) of a service provider. INCLUDES: P charges for bulk treatment/transfer of sewage P salaries and wages including proportion of salaries and wages for FTEs shared across local governments as detailed in QG 1.20 P overheads on salaries and wages including proportion of overheads on salaries and wages for FTEs shared across local governments as detailed in QG 1.20 P materials, chemicals and energy used P contracts P accommodation P all other operating costs that would normally be reported P items expensed from work in progress (capitalised expense items) and pensioner remission expenses (CSOs). (CSOs are likely to have an equivalent inclusion in revenue) P competitive neutrality adjustments, which include but are not limited to land tax, debits tax, stamp duties and council rates P indirect costs should be apportioned to water and sewerage services EXCLUDES: × depreciation × any write-downs of assets to recoverable amounts × write-offs, retired or scrapped assets × the written-down value of assets sold × interest
| QG 3.13 | Annual maintenance costs - water | - | FN76 | thousands of dollars ($'000s): to nearest $'000 | 23349 | [10 empty] | >= | 0 | <= | 1000 | NO DATA
|  | As a component of QG 3.11, report on the maintenance costs only. INCLUDES: P all costs as specified in QG 3.11 relating to routine, operational and preventative maintenance | [14 empty] | >
| QG 3.14 | Annual maintenance costs - sewerage | - | FN77 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | >= | 0 | <= | 1000 | NO DATA
|  | As a component of QG 3.12, report on the maintenance costs only. INCLUDES: P all costs as specified in QG 3.12 relating to routine, operational and preventative maintenance | [14 empty] | >
| QG 3.15 | Current cost depreciation - water | - | FN78 | thousands of dollars ($'000s): to nearest $'000 | 246874 | [10 empty] | > | 0 |  | 5000 | NO DATA
|  | Expenses incurred relating to change in value of the fixed water supply assets, plant and equipment during the reporting period. Current cost depreciation relates to the current value (as opposed to original purchase price) of the fixed assets, plant and equipment during the reporting period. | [14 empty] | > |  | <=
| QG 3.16 | Current cost depreciation - sewerage | - | FN79 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | > | 0 |  | 5000 | NO DATA
|  | Expenses incurred relating to change in value of the fixed sewerage services assets, plant and equipment during the reporting period. Current cost depreciation relates to the current value (as opposed to original purchase price) of the fixed assets, plant and equipment during the reporting period. | [14 empty] | > |  | <=
| QG 3.17 | Previous 5 year average annual renewals expenditure - water | - | FN80 | thousands of dollars ($'000s): to nearest $'000 | 89700 | [10 empty] | > | 0 | <= | 50000 | NO DATA
|  | The average of the annual renewals expenditures for the last 5 years (i.e. the reporting year and the 4 years previous) in nominal year dollars for water services. Renewals expenditure is defined as expenditure on asset replacement, refurbishment or rehabilitation works which returns the asset to its original size, capacity or condition. It does not increase the size or capacity of the asset (as adapted from the AIFMG). | [14 empty] | >
| QG 3.18 | Previous 5 year average annual renewals expenditure - sewerage | - | FN81 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | > | 0 | <= | 50000 | NO DATA
|  | The average of the annual renewals expenditures for the last 5 years (i.e. the reporting year and the 4 years previous) in nominal year dollars for sewerage services. Renewals expenditure is defined as expenditure on asset replacement, refurbishment or rehabilitation works which returns the asset to its original size, capacity or condition. It does not increase the size or capacity of the asset (as adapted from the AIFMG). | [14 empty] | >
| QG 3.19 | Forecast 5 year average annual renewals expenditure – water | - | FN82 | thousands of dollars ($'000s): to nearest $'000 | 215604 | [10 empty] | > | 0 | <= | 50000 | NO DATA
|  | The average annual renewals expenditures planned for 5 years after the reporting year for water services. Renewals expenditure is defined as expenditure on asset replacement, refurbishment or rehabilitation works which returns the asset to its original size, capacity or condition. It does not increase the size or capacity of the asset. The expenditure is at current year dollars (as adapted from the AIFMG). | [14 empty] | >
| QG 3.20 | Forecast 5 year average annual renewals expenditure – sewerage | - | FN83 | thousands of dollars ($'000s): to nearest $'000 | NR | [10 empty] | > | 0 | <= | 50000 | NO DATA
|  | The average annual renewals expenditures planned for 5 years after the reporting year for sewerage services. Renewals expenditure is defined as expenditure on asset replacement, refurbishment or rehabilitation works which returns the asset to its original size, capacity or condition. It does not increase the size or capacity of the asset. The expenditure is at current year dollars (as adapted from the AIFMG). | [14 empty] | > |  | <=
| QG 4.1 | Fixed charge - water | - | PR3 & PR5 | cost per residential property per year - water: as a whole number Insert text response on fixed charge basis |  | NR | [9 empty] | >= | 0 | <= | 3000 | NO DATA
|  | The fixed amount the business levies on a residential property per year for water services. This is the component of each residential property’s bill that does not vary with the amount of water used. The basis for the fixed charge is to be provided (e.g. percentage of property value, meter sizes). | [14 empty] | > |  | <=
| QG 4.2 | Fixed charge - sewerage | - | PR31 & PR40 | cost per residential property per year - sewerage: as a whole number Insert text response on fixed charge basis | [7 empty] | NR |  |  |  | > | 0 | <= | 3000 | NO DATA
|  | The fixed amount the business levies on a residential property per year for sewerage services. This is the component of each residential property’s bill that does not vary with the amount of sewage produced. The basis for the fixed charge is to be provided (e.g. percentage of property value, number of pedestals or meter sizes). | [14 empty] | > |  | <=
| QG 4.3 | Annual bill based on 200 kL/annum | - | PR47 | annual cost: as a whole number | NR\ | [10 empty] | > | 0 | <= | 3000 | NO DATA
|  | Average annual residential bill based on 200kL of water per annum. | [14 empty] | >
| QG 4.4 | Typical residential bill | - | PR48 | annual cost: as a whole number | NR | [10 empty] | > | 0 | <= | 1500 | NO DATA
|  | The dollar amount of the typical residential annual water and sewerage bill for the financial year. This information is premised on the average annual residential consumption for a full-paying customer. | [14 empty] | >
| QG 4.5 | Total water main breaks | - | AS8 | water main breaks per 100km of water main: one decimal place |  | NR | [9 empty] | > | 0 | <= | 50 | NO DATA
|  | The total number of main breaks, bursts and leaks in all diameter water distribution and reticulation mains for potable and non-potable services for the reporting period, irrespective of whether the break, burst or leak resulted in an interruption INCLUDES: P breaks caused by third parties EXCLUDES: × those in the property service (i.e. mains to meter connection) | [14 empty] | > |  | <=
| QG 4.6 | Total sewerage main breaks and chokes | - | AS39 | sewerage main breaks per 100km of sewerage main: one decimal place | [7 empty] | NR |  |  |  | > | 0 | <= | 50 | NO DATA
|  | The total number of sewerage mains breaks and chokes, irrespective of whether the break or choke resulted in an interruption to the sewerage service, for the reporting period. INCLUDES: P all gravity sewer mains P all pressure mains (including common effluent pipelines, rising mains, etc.) P all vacuum system mains of any diameter P breaks caused by third parties P chokes in pumps EXCLUDES: x property connection sewers x pipelines carrying treated effluent x recycled water distribution and reticulation mains delivering water for urban areas; such mains are to be reported as water mains (QG 1.1) | [14 empty] | >
| QG 4.7 | Incidence of unplanned interruptions – water | - | CS17 | unplanned interruptions per 1000 properties - water: as a whole number |  | NR | [9 empty] | >= | 0 | <= | 100 | NO DATA
|  | This is the number of unplanned interruptions (when the customer has total loss of water supply and has NOT received at least 24 hours notification or as otherwise prescribed by regulatory requirements) per 1000 properties. INCLUDES: P situations where the duration of a planned interruption exceeds that which was originally notified P all un-notified interruptions caused by third parties (include text response on proportion of third-party breaks if desired) EXCLUDES: × property service connection interruptions, unless the burst or leak requires the water main to be shut down for repair and therefore affects multiple customers × interruptions that cause some reduction to the level of service but where normal activities (shower, washing machine, toilet flushing etc.) are still possible × breaks in house connection branches × planned interruptions | [14 empty] | >
| QG 4.8 | Average response time for water incidents (bursts and leaks) | - | CS66 | percentage: one decimal place |  | NR | [9 empty] | > | 0 | <= | 10080 | NO DATA
|  | This indicator will be measured as percentage of water incidents responded to within the average response time target/s indicated in customer service standard. | [14 empty] | > |  | <=
| QG 4.9 | Average response time for sewerage incidents (including mains breaks and chokes) | - | CS65 | percentage: one decimal place | [7 empty] | NR |  |  |  | > | 0 | <= | 10080 | NO DATA
|  | This indicator will be measured as the percentage of sewerage incidents responded to within the average response time target/s indicated in customer service standard | [14 empty] | > |  | <=
| QG 4.10 | Water quality complaints | - | CS9 | water quality complaints per 1000 properties: as a whole number |  | NR | [9 empty] | >= | 0 | <= | 300 | NO DATA
|  | The total number of complaints received by the service provider that relate to water quality from any type of water provided. A complaint can be a written or verbal expression of dissatisfaction about an action, proposed action or failure to act by the water utility, its employees or contractors. Includes complaints received either in person, by mail, fax, phone, email or text messaging. INCLUDES complaints regarding: P discolouration P taste P odour P stained washing P illness P cloudy water (e.g. caused by oxygenation) Excludes complaints regarding: × service interruption × adequacy of service × restrictions × billing and accounts × water pressure | [14 empty] | > |  | <=
| QG 4.11 | Total water and sewerage complaints | - | CS13 | complaints per 1000 properties: as a whole number |  | NR | [9 empty] | >= | 0 | <= | 500 | NO DATA
The total number of complaints received by the water business that relate to water or sewerage services. A complaint can be a written or verbal expression of dissatisfaction about an action, proposed action or failure to act by the water utility, its employees or contractors. Includes complaints received by the water utility in person, by mail, fax, phone, email or text messaging. Includes complaints regarding: P bursts P leaks P service interruptions P adequacy of service P water pressure P water quality or reliability P sewerage service complaints P sewage odours P affordability P billings and accounts P behaviour of staff or agents Excludes complaints regarding: × government pricing policy × tariff structures
| QG 5.1 | Operating ratio | - | FN84 | as a percentage | NR
Net operating result before tax divided by total operating revenue.
| QG 5.2 | Capital replenishment ratio | - | FN85 | as a number | NR
|  | Purchases of non-current assets divided by depreciation expense. | [16 empty] | <=
| QG 5.3 | Debt to revenue ratio | - | FN86 | as a percentage or number | NR
Total loans and borrowings divided by total operating revenue.
Note on H21: Jo Orr: Correction: Missed a number in the value.
Note on K21: Jo Orr: Double counted some QBWSA extractions
Note on H31: Jo Orr: See comment above
Note on K31: Jo Orr: Only non-potable water sourced. Value changed as double counted QBSWA extraction as defined above

## National Performance Report
NPR | KPI Description | Units | 2017-18 | Comments
W1 | Volume of water sourced from surface water (S) | ML | 325370
W2 | Volume of water sourced from groundwater (S) | ML | 13368.0656
W3.1 | Volume of water sourced from desalination of marine water (S) | ML | 2803.38
W5.3 | Volume of water, excluding recycled water, received from other service providers or operational areas within the urban water supply system. | ML | NA
W14.3 | Volume of water, excluding recycled water, exported to other service providers or operational areas within the urban water supply system | ML | 312342.442 | Includes potable and raw supplied to councils and utilities
W11.3 | Total volume of potable water produced for supply into the urban water supply system | ML | 308520
W8.3 | Volume of water supplied to residential customers | ML | NA
W9.3 | Volume of water supplied to non-residential customers | ML | 30324.232 | Volume of water supplied to agricultural and individual irrigation, commercial, industrial and municipal customers
W31 | Volume of water returned to surface water from the urban water supply system | ML | NA
W10 | Volume of water returned as environmental flows from outside the urban water supply system | ML | 9345
W11 | Volume of non-revenue water | ML | 926 | NOTE - Two W11 indicators have been defined in this handbook: -- pages 14 & 44 Total volume of urban water supplied -- pages 8 & 32 Total non-revenue water W11 as per pages 14 & 44 have been used in formulas that use W11
W16 | Volume of wastewater, excluding trade waste, collected | ML | NA
W17 | Volume of trade waste collected | ML | NA
W18.4 | Volume of wastewater inflow to wastewater treatment plants | ML | NA
W18.2 | Volume of wastewater received from other service providers or operational areas within the urban wastewater system | ML | NA
W18.1 | Volume of wastewater exported to other service providers or operational areas within the urban wastewater system | ML | NA
W18.3 | Volume of wastewater taken through sewer mining | ML | NA
W18.5 | Volume of treated effluent outflow from wastewater treatment plants | ML | NA
W29 | Volume of treated wastewater disposals | ML | NA
W30 | Volume of wastewater losses & discharges | ML | NA
W6 | Volume of recycled water received from other service providers or operational areas within the urban water supply system | ML | NA
W15 | Volume of recycled water exported to other service providers or operational areas within the urban water supply system | ML | NA
W20 | Volume of recycled water supplied to residential customers | ML | NA
W21 | Volume of recycled water supplied to non-residential customers | ML | NA
W23 | Volume of recycled water supplied as environmental flows | ML | NA
W25.1 | Volume of recycled water supplied to managed aquifer recharge | ML | NA
W28.4 | Volume of urban stormwater supplied to residential customers | ML | NA
W28.5 | Volume of urban stormwater supplied to non-residential customers | ML | NA
W7 | Total volume of water sourced |  | 341541
W5 | Total volume of water received from other service providers or operational areas within the urban water system | ML | NA
W14 | Total volume of water exported to other service providers or operational areas within the urban water supply system | ML | 312342.442
W8 | Total volume of water supplied to residential customers | ML | NA
W9 | Total volume of water supplied to non-residential customers | ML | 30324.232
W11 | Total volume of urban water supplied | ML | 338844.2105 | Page 14 of the handbook has this as total urban water supplied with formula: W11 = W8.3 + W9.3 + W20 + W21 + W28.4 + W28.5 This does not include potable water supplied for bulk utilities ie W11.3; it considers only residential and non-residential customers. Thus Forumula used to derive this value is W11 = W11.3 + W9.3 NOTE - Two W11 indicators have been defined in this handbook: -- pages 14 & 44 Total volume of urban water supplied -- pages 8 & 32 Total non-revenue water W11 as per pages 14 & 44 have been used in formulas that use W11
W12 | Average volume of residential water supplied per property | ML | NA
W18 | Total volume of wastewater collected | ML | NA
W19 | Average volume of wastewater collected per property | ML | NA
W26 | Total volume of recycled water supplied | ML | NA
W27 | Recycled water as a percentage of total wastewater collected | % | NA
A1 | Number of water treatment plants providing full treatment | plants | 30 | Does not include: - Petrie WTP - decommissioned in March 2018 - Western Corridor Recycled Water Scheme - care and maintenance mode - Recreation WTPs Does include: - Gold Coast Desalination Plant - in standby mode; operating to support operational requirements (4-10th Oct 2017; 13-17th Nov 2017 & 22nd May-30th June 2018)
A2 | Length of water mains | km | 859 | Treated water mains: 644.6 Recycled water mains: 214.4 100% accuracy is not guaranteed.
A3 | Number of properties served per km of water main | properties/km | NA
A4 | Number of wastewater treatment plants | plants | NA
A5 | Length of sewer mains and channels | km | NA
A6 | Number of properties served per km of sewer main | properties/km | NA
IA8 | Number of water main breaks, bursts and leaks | mains breaks | NA
A8 | Number of water main breaks, bursts and leaks, per 100 kms of water mains | mains breaks/100km | NA
A9 | Infrastructure leakage index |  | NA
A10 | Real losses: service connections | L/service connection/day | NA
A11 | Real losses: water mains | kL/km water main/day | NA
A14 | Number of sewer mains breaks and chokes per 100 km | breaks & chokes/100km | NA
A15 | Number of property connection sewer breaks and chokes per 1,0000 properties | breaks & chokes/1,000 properties | NA
C1 | Population receiving services: water supply | population 000s | NA
C2 | Number of connected residential properties: water supply | population 000s | NA
C3 | Number of connected non-residential properties: water supply | properties/km | NA
C4 | Total number of connected properties: water supply | properties/km | NA
C6 | Number of connected residential properties: wastewater | properties/km | NA
C7 | Number of connected non-residential properties: wastewater | properties/km | NA
C8 | Total number of connected properties: wastewater | properties/km | NA
IC9 | Number of water quality complaints: water supply | complaints | NA
C9 | Number of water quality complaints per 1,000 properties: waster supply | complaints/1,000 properties | NA
IC10 | Number of water service complaints | complaints | NA
C10 | Number of water service complaints per 1,000 properties | complaints/1,000 properties | NA
IC11 | Number of sewerage service complaints | complaints | NA
C11 | Number of sewerage service complaints per 1,000 properties | complaints/1,000 properties | NA
IC12 | Number of billing and account complaints: water supply and sewerage | complaints | NA
C12 | Number of billing and account complaints per 1,000 properties: water supply and sewerage | complaints/1,000 properties | NA
IC13 | Number of water and sewerage complaints | complaints | NA
C13 | Number of water and sewerage complaints per 1,000 properties | complaints/1,000 properties | NA
C14 | Percentage of calls unanswered by an operator within 30 seconds | % | NA
C15 | Average duration of an unplanned interruption: water supply | minutes | NA
IC17 | Number of unplanned interruptions: water supply | interruptions | NA
C17 | Number of unplanned interruptions per 1,000 properties | interruptions/1,000 properties | NA
IC18 | Number of restrictions for non-payment of water bills | restrictions | NA
C18 | Number of restrictions for non-payment of water bills per 1,000 properties | restrictions/1,000 properties | NA
IC19 | Number of legal actions taken for non-payment of water bills | legal actions | NA
C19 | Number of legal actions taken for non-payment of water bills per 1,000 properties | legal actions/1,000 properties | NA
IE1 | Volume of wastewater treated to a primary level | ML | NA
E1 | Percentage of wastewater treated to a primary level | % | NA
IE2 | Volume of wastewater treated to a secondary level | ML | NA
E2 | Percentage of wastewater treated to a secondary level | % | NA
IE3 | Volume of wastewater treated to a tertiary level | ML | NA
E3 | Percentage of wastewater treated to a tertiary level | % | NA
E8 | Percentage of biosolids reused | % | NA
IE9 | Net greenhouse gas emissions: water supply | t CO2 equivalents | 119947.5 | Excludes organic and natural assets
E9 | Net greenhouse gas emissions per 1,000 properties: water supply | t CO2 equivalents/1,000 properties | NA
E9.1 | Net greenhouse gas emissions per ML: water supply - bulk utility | t CO2 equivalents/ML | 0.35399
IE10 | Net greenhouse gas emissions: wastewater | t CO2 equivalents | NA
E10 | Net greenhouse gas emissions per 1,000 properties: wastewater | t CO2 equivalents/1,000 properties | NA
E10.1 | Net greenhouse gas emissions per ML: wastewater - bulk utility | t CO2 equivalents/ML | NA
IE11 | Net greenhouse gas emissions: other | t CO2 equivalents | 2404.6 | Inclusive of non-operational administration building and transport liquid fuels
E11 | Net greenhouse gas emissions per 1,000 properties: | t CO2 equivalents/1,000 properties | NA
E11.1 | Net greenhouse gas emissions per ML: other - bulk utility | t CO2 equivalents/ML | 0.0070965
IE12 | Total net greenhouse gas emissions | t CO2 equivalents | 122352.1
E12 | Total net greenhouse gas emissions per 1,000 properties | t CO2 equivalents/1,000 properties | NA
E12.1 | Total net greenhouse gas emissions per ML: bulk utility | t CO2 equivalents/ML | 0.36109
P1 | Tarrif structure: water supply | provided as text | NA
P1.2 | Fixed charge: water supply | $ | NA
P1.3 | Usage charge: step 1 | $/kL | NA
P1.4 | Usage charge: step 2 | $/kL | NA
P1.5 | Usage charge: step 3 | $/kL | NA
P1.6 | Usage charge: step 4 | $/kL | NA
P1.7 | Usage charge: step 5 | $/kL | NA
P1.3a | Upper bound of usage: step 1 | kL | NA
P1.4a | Upper bound of usage: step 2 | kL | NA
P1.5a | Upper bound of usage: step 3 | kL | NA
P1.6a | Upper bound of usage: step 4 | kL | NA
P1.7a | Upper bound of usage: step 5 | kL | NA
P1.12 | Special levies: water supply | $ | NA
P1.13 | Income from special levies retained by the utility: water supply | yes/no | NA
P4 | Tarrif structure: wastewater | provided as text | NA
P4.1 | Fixed charge: wastewater | $ | NA
P4.2 | Usage charge: wastewater | $/kL | NA
P4.3 | Special levies: wastewater | $ | NA
P4.4 | Income from special levies retained by the utility: wastewater | yes/no | NA
P2 | Annual residential bill based on 200kL per annum: water supply | $ | NA
P5 | Annual residential bill based on 200kL per annum: wastewater | $ | NA
P7 | Toal annual residential bill based on 200 kL per annum | $ | NA
P3 | Typical residential bill: water supply | $ | NA
P6 | Typical residential bill: wastewater | $ | NA
P8 | Total typical residential bill | $ | NA | Note: Handbook has an error on p.75 states P7 = P3 + P6
F1 | Total revenue: water supply | $ 000s | 882825
F5 | Revenue per property: water supply | $/property | NA
F5.1 | Revenue per ML: water supply - bulk utitility | $/ML | 2605.4009
F2 | Total revenue: wastewater | $ 000s | NA
F6 | Revenue per property: wastewater | $/property | NA
F6.1 | Revenue per ML: wastewater - bulk utility | $/ML | NA
F3 | Total income for the utility | $ 000s | 913512
F7 | Total income per property | $/property | NA
F7.1 | Total income per ML: bulk utility | $/ML | 2695.9646
F4 | Percentage of residentiual revenue from usage charges: water supply | % | NA
F9 | Written-down replacement cost of fixed water supply assets | $ 000s | 6911397
F10 | Written-down replacement cost of fixed wastewater assets | $ 000s | NA
IF11 | Operating cost: water supply | $ 000s | 255194
F11 | Operating cost per property: water supply | $/property | NA
F11.1 | Operating cost: water supply - Bulk Utility | $/ML | 753.1308
IF12 | Operating cost: wastewater | $ 000s | NA
F12 | Operating cost per property: wastewater | $/property | NA
F12.1 | Operating cost per ML: wastewater - bulk utility | $/ML | NA
F13 | Combined operating cost per property: water supply and wastewater | $/property | NA
F13.1 | Combined operating cost per ML: water supply and wastewater - bulk utility | $/ML | NA
F14 | Capital expenditure: water supply | $ 000s | 93091
F28 | Capital expenditure per property: water supply | $/property | NA
F28.1 | Capital expenditure per ML: water supply - bulk utility | $/ML | 274.731
F15 | Capital expenditure: wastewater | $ 000s | NA
F29 | Capital expenditure per property: wastewater | $/property | NA
F29.1 | Capital expenditure per ML: wastewater - bulk utility | $/ML | NA
F16 | Total capital expenditure: water supply and wastewater | $ 000s | NA
F17 | Economic real rate of return: water supply | % | 3%
F18 | Economic real rate of return: wastewater | % | NA
F19 | Economic real rate of return: water supply and wastewater | % | NA
F20 | Dividend | $ 000s | 0
F21 | Dividend payout ratio | % | 0%
F22 | Net debt to equity ratio | % | 539%
F23 | Interest cover ratio | % | 80%
F24 | Net profit afer tax (NPAT) | $ 000s | -75701
F30 | Net profit after tax (NPAT) ratio | % | -8.287%
F25 | Community service obligation ($) | $ 000s | 2069
F8 | Community Service obligations ratio | % | 0.2265%
F26 | Capital works grants: water supply | $ 000s | 11382
F27 | Capital works grants: wastewater | $ 000s | NA
H1 | Water quality guidelines | provided as text | ADWG | Water quality criteria are specified in the Seqwater Drinking Water Quality Management Plan. The guideline values from the Australian Drinking Water Guidelines (2011) are the primary criteria, supplemented by other sources where the ADWG does not provide a guideline value (e.g. chlorate).
H3 | Percentage of population where microbiological compliance was achieved | % | NA
H4 | Number of zones where chemical compliance was achieved | zones | 21 | All drinking water supply zones achieved chemical compliance during 2017-18.
H4a | Total number of zones | zones | 21 | Note the supply network is operated as an interconnected grid consisting of 4 zones supplied by 12 WTPs. The exact boundaries of the 4 zones may change from week to week, depending on operation requirements at the time. The remaining 17 zones are single source supplies, solely supplied from a local WTP.
H5 | Risk-based drinking water management plan externally assessed | yes/no | Yes | All Water Treatment Plants and Supply System have HACCP plans in place as part of the organisation’s regulator (DNRME) approved Drinking Water Quality Management Plan. Internal quality assessment is undertaken every 2 years. The following sites have 3rd party ISO22000 certification; Supply System, North Pine WTP, Landers Shute WTP, Molendinar WTP, Mudgeeraba WTP, Image Flat WTP, Noosa WTP, Mt Crosby East Bank and West Bank WTPs, Capalaba WTP, North Stradbroke Island WTP, Lowood WTP, Kalbar WTP.

## Notes
Notes
Service providers that wish to include information on: a matter that impacted on, improved or deteriorated performance; an issue of future concern identified through reporting; or any strategies to deal with issues of concern may do so here.