## North
Northern Operational Region - Register of changes to HACCP plans, procedures or related documents
# | Document Ref | WTP/System | HACCP Plan/Procedure | Section/Para | Brief description / justification of change | Additional Comments | Originator | Date | QWSR Amendment Required (by Principal DWQ)
309 | PLN-00029 | Kenilworth WTP | Operational Monitoring Plan | typesetting only | type setting/format |  | NE | 2024-09-08 | Y
310 | GDE-00047 | Image Flat WTP | Verification Sample Point Guide | New sample point codes | update to sample point codes |  | NE | 2024-09-20 | Y
311 | PRO-02025 | Image Flat WTP | HACCP Plan Wall Chart Procedure | typesetting only | type setting/format |  | NE | 2024-09-21 | Y
312 | PRO-02224 | Kirkleagh WTP | HACCP Plan Wall Chart Procedure | typesetting only | type setting/format |  | NE | 2024-11-22 | Y
320 | PLN-00051 | North Pine WTP | HACCP Plan | Whole document | Mischelanous minor typographical errors corrected, updated some limits within the validation,enhanced the description to eliminate some confusion over qcp/oprp for manganese |  | NE | 2024-07-16 | Y
321 | PRO-02108 | North Pine WTP | HACCP Plan Wall Chart Procedure | Whole document | Ammended to reflect the updated limits and QCP/oPRP manganese descriptions |  | NE | 2024-07-16 | Y
322 | PLN-00045 | Landers Shute WTP | HACCP Plan | Whole document | removed reference to risk wizard replaced with protecht. updated some validation information that was inconsistent with wall chart, updated the schematic to use the new sample point codes. Made it clear for manganese – its two consecutive “daily” grabs for the limit (it used to just say “consecutive”) |  | NE | 2024-07-17 | Y
323 | PLN-00033 | Landers Shute WTP | Operational Monitoring Plan | Whole document | Updated the omp to be consistent with the wall chart (mostly removed a lot of parameters that are not required under the haccp plan) |  | NE | 2024-07-17 | Y
324 | PRO-02107 | Landers Shute WTP | HACCP Plan Wall Chart Procedure | Whole document | Removed reference to Risk Wizard and improved some formatting |  | NE | 2024-07-17 | Y
325 | PLN-00027 | Image Flat WTP | Operational Monitoring Plan | Whole document | Formatting/typesetting |  | NE | 2024-07-24 | Y
326 | GDE-00049 | Landers Shute WTP | Verification Sample Point Guide | Whole document | Formatting/typesetting. Additional sampling point included. |  | NE | 2024-08-01 | Y
327 | PLN-00045 | Landers Shute WTP | HACCP Plan | Data analysis for IRN | Added enhanced data analysis to section 2 |  | NE | 2024-08-16 | Y
328 | PRO-01930 | Kenilworth WTP | HACCP Plan Wall Chart Procedure | Whole document | Removed references to risk wizard and replaced with protecht |  | NE | 2024-08-27 | Y
329 | PRO-02108 | North Pine WTP | HACCP Plan Wall Chart Procedure | dosed filtered water | Moved the dosed filtered water and disinfected water ph target from 7.3-7.5 to 7.5-7.7 as requested by ops |  | NE | 2024-10-08 | Y
330 | PLN-00189 | Kilcoy WTP | Operational Monitoring Plan | Whole document | Formatting/typesetting |  | NE | 2024-08-16 | Y
331 | GDE-00051 | North Pine WTP | Verification Sample Point Guide | Additional sample points | Sampling points on the YMCA line and on the service water tower installed and included in the guide |  | NE | 2024-10-11 | Y
332 | GDE-00080 | Linville WTP | Verification Sample Point Guide | Additional sample points | Added additional sampling point at high level reservoir |  | NE | 2024-10-18 | Y
340 | PLN-00081 | Linville WTP | Operational Monitoring Plan | Whole document | Formatting/typesetting |  | NE | 2024-11-08 | Y
341 | PRO-01780 | Dayboro WTP | Reinstatement after a major rain event procedure | Whole document | Formatting/typesetting |  | NE | 2024-11-08 | Y
342 | PLN-00045 | Landers Shute WTP | HACCP Plan | Data analysis for IRN | Data analysis enhanced for IRN |  | NE | 2025-01-29 | Y
343 | PRO-02026 | Dayboro WTP | HACCP Plan | Instrument tags | added instrument tags to the analysers that match the scada. Small change to the fluoride inlet/outlet wording (pre storage/ post storage) |  | NE | 2025-03-24 | Y
342 | PLN-00198 | Noosa WTP | HACCP Plan | System Description | Removed the unnecessary (and incorrect) parts of the system description Altered the fluoride outlet limit to match the wallchart |  | NE | 2025-04-24 | Y
343 | PRO-02074 | Noosa WTP | HACC Plan Wall Chart Procedure | Typographical | Updated to new format and made some typographical correction |  | NE | 2025-04-24 | Y
343 | GDE-00049 | Landers Shute WTP | Verification Sample Point Guide | Whole document | One of the sample points requires longer flushing. changed the disinfection method to ‘alcohol’ for all sample points, and changed signing on and off to using the SINE app rather than the logbook. |  | NE | 2025-04-24 | Y
344 | GDE-00048 | Kenilworth WTP | Verification Sample Point Guide | Whole document | corrected the verification guide to reflect the intent of the sampling program |  | NE | 2025-05-13 | Y
345 | PLN-00197 | Noosa WTP | Operational Monitoring Plan | Whole document | the re-typesetting |  | NE | 2025-05-20 | Y

## Central
Central Operational Region - Register of changes to HACCP plans, procedures or related documents
# | Document Ref | WTP/System | HACCP Plan/Procedure | Section/Para | Brief description / justification of change | Additional Comments | Originator | Date | QWSR Amendment Required (by Principal DWQ)
463 | GDE-00388 | Supply System | South West Pipeline (SWP) Verification Sample Point Guide | Whole document | New document |  | KM | 2024-08-14 | Y
464 | PLN-00263 | Supply System | HACCP Plan | Whole document | - Associated Documents Page 2 - Removed to the back of the document and changed title/numbering. Also added reference to SWP Verification Sample Point Guide. - 2.1.2 Flow Diagram - Updated to include the SWP, Beaudesert WTP and Beaudesert zone. - 2.1.3.7 South West Pipeline - New section. Included Overview Schematic and SWP Zone Process Summary. - 2.2 Product Specificatio & Intended Use - Removed reference to Risk Wizard and added Protecht. - 3.2 HACCP Limit Validation - In Disinfection (Secondary)CCP, added information on Wyaralong WQMF and HACCP Limits for total chlorine, free ammonia and monochloramine. - 5. Monitoring - Added reference for SWP Verification Sample Point Guide. - 7. Maintenance - Removed reference to CIS and added Mainpac. - 8. Reporting - Removed reference to Risk Wizard and added Protecht. |  | KM | 2024-08-30 | Y
465 | PRO-02089 | Supply System | HACCP Plan Wall Chart Procedure | Whole Document | - Added new section on SWP. - Changed all references from Risk Wizard Reference to Protecht. - In Corrective Actions section under Control Room Operator – Added reference to Wyaralong WQMF and Beaudesert Pump Station |  | KM | 2024-08-30 | Y
470 | GDE-00072 | Lowood WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2024-07-24 | Y
471 | PLN-00064 | Lowood WTP | Operational Monitoring Plan | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2024-07-25 | Y
472 | GDE-00073 | Esk WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2024-09-27 | Y
473 | PLN-00013 | West Bank WTP | Operational Monitoring Plan | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2024-09-27 | Y
474 | PLN-00014 | East Bank WTP | Operational Monitoring Plan | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2024-09-27 | Y
475 | PLN-00062 | Esk WTP | Operational Monitoring Plan | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2024-09-27 | Y
476 | PLN-00048 | East Bank WTP | HACCP Plan | Whole document | Typographic corrections & new corproate format for controlled documents Referenced Operational documents updated |  | DH | 2024-11-18 | Y
477 | PLN-00049 | West Bank WTP | HACCP Plan | Whole document | Typographic corrections & new corproate format for controlled documents Referenced Operational documents updated |  | DH | 2024-11-18 | Y
482 | PRO-02089 | Supply System | HACCP Plan Wall Chart Procedure | Whole document | Correction of 2 typograpical errors |  | KM | 2024-09-18 | Y
483 | PRO-01558 | Supply System | Maintaining Chlorine Residual Procedure | Whole Document | - Correction of terminology from 'Water Quality Team' to 'Drinking Water Quality Team'. - Updated all HyperLinks. - Updated terminology and made topographical corrections. Reworded sections of the document. |  | KM | 2025-05-19 | Y
484 | PRO-01558 | Supply System | Maintaining Chlorine Residual Procedure | 3. Roles and Responsibilities | Removed bullet point from Scientific Services section. |  | KM | 2025-05-19 | Y
485 | PRO-01558 | Supply System | Maintaining Chlorine Residual Procedure | 6. Operational Planning and Changes | Included sentence on flushing of offtakes and points of stagnation to improve chlorine levels. |  | KM | 2025-05-19 | Y
486 | PRO-01558 | Supply System | Maintaining Chlorine Residual Procedure | 9. Recordkeeeping | Removed the reference to Risk Wizard and Replaced with Protecht. Removed reference to CIS and replaced with Mainpac. |  | KM | 2025-05-19 | Y
487 | PRO-02011 | Wivenhoe Dam WTP | HACCP Plan Wall Chart Procedure | Whole document | Updated document in new Corporate format for controlled documents Updated to reflect tankering of water supplies and changes to the process flowsheet |  | DH | 2025-02-12 | Y
488 | PLN-00064 | Lowood WTP | Operational Monitoring Plan | Whole document | Typographic corrections & new corproate format for controlled documents Updated Flow diagrams, System Overview, Validation and other sections as required for the addition of the new UV Disinfection section Sample Point ID updated as per Labware LIMS |  | DH | 2025-02-16 | Y
489 | PRO-02015 | Lowood WTP | HACCP Plan Wall Chart Procedure | Whole document | Typographic corrections & new corproate format for controlled documents Updated Flow diagrams, System Overview, Validation and other sections as required for the addition of the new UV Disinfection section Sample Point ID updated as per Labware LIMS |  | DH | 2025-02-17 | Y
490 | PLN-00149 | Lowood WTP | HACCP Plan | Whole document | Typographic corrections & new corproate format for controlled documents Updated Flow diagrams, System Overview, Validation and other sections as required for the addition of the new UV Disinfection section Sample Point ID updated as per Labware LIMS |  | DH | 2025-02-21 | Y
491 | PRO-02015 | Lowood WTP | HACCP Plan Wall Chart Procedure | Whole document | Minor ammendment to HACCP limits for consistency with Function Descriptions and UV System Validation certificate |  | DH | 2025-03-24 | Y
492 | PLN-00149 | Lowood WTP | HACCP Plan | Whole document | Minor ammendment to HACCP limits for consistency with Function Descriptions and UV System Validation certificate |  | DH | 2025-03-24 | Y
493 | PLN-00149 | Somerset Dam Township WTP | Operational Monitoring Plan | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2025-05-14 | Y

## South
Southern Operational Region - Register of changes to HACCP plans, procedures or related documents
# | Document Ref | WTP/System | HACCP Plan/Procedure | Section/Para | Brief description / justification of change | Additional Comments | Originator | Date | QWSR Amendment Required (by Principal DWQ)
516 | PLN-00138 | Boonah-Kalbar WTP | HACCP Plan | Whole document | corporate style update, OPRP tankering added Process flow diagram and schematic updated, links reviewed |  | AC | 2024-07-27 | Y
517 | PLN-00119 | Boonah-Kalbar WTP | Operational Monitoring Plan | Whole document | Corporate Style update |  | AC | 2024-07-27 | Y
522 | PLN-00075 | North Stradbroke Island WTP | HACCP Plan | Whole document | type setting/format IRN detail |  | DG | 2024-10-23 | Y
525 | PLN-00069 | Molendinar WTP | HACCP Plan | Whole document | type setting/format IRN detail |  | DG | 2024-11-19 | Y
526 | PLN-00071 | Mudgeeraba WTP | HACCP Plan | Whole document | type setting/format IRN detail |  | DG | 2024-11-19 | Y
534 | PLN-00094 | Rathdowney WTP | HACCP Plan | Whole document | Typographic corrections & new corproate format for controlled documents Updated Process flow and schematic Updated PRP programs: Tankering oPRP |  | AC | 2024-09-27 | Y
537 | PRO-02099 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | HACCP Plan Wall Chart Procedure | Whole document | type setting/format, inc Dynamic Ct at Amity, confirm free chlorine limits for 4 lrv disinfection at Dunwich and Amity WTPs. |  | DG | 2024-10-23 | Y
538 | PLN-00072 | Mudgeeraba WTP | Operational Monitoring Plan | Whole document | type setting/format |  | DG | 2024-07-26 | Y
539 | PLN-00070 | Molendinar WTP | Operational Monitoring Plan | Whole document | type setting/format |  | DG | 2024-07-26 | Y
550 | PLN-00093 | Rathdowney WTP | Operational Monitoring Plan | Whole document | type setting/ format and removed "HACCP Reportable Parameter" as per DWQ team discussion |  | DG | 2025-05-20 | Y
551 | PRO-02110 | Kooralbyn WTP | HACCP Plan Wall Chart Procedure | Whole document | type setting/ format, updated details in table 1 and table 2 |  | DG | 2025-05-20 | Y
552 | PLN-00096 | Kooralbyn WTP | Operational Monitoring Plan | Whole document | type setting/ format and removed "HACCP Reportable Parameter" as per DWQ team discussion |  | DG | 2025-05-20 | Y
555 | PRO-02591 | Gold Coast Desalination Plant | HACCP Corrective Actions | Whole document | Updated as per Internal HACCP Audit findings to change "Critical" to "Alarm" to match SCADA. Updated CCP1 corrective actions to reflect the use of AIT 2002-8 in the CCP 1 Weighted/Virtual calculation and requirement for a verification check. | Veolia BMS number: TEM-4255 | KTH | 2024-12-05 | Y
569 | PLN-00075 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | HACCP Plan | Whole document | changes to include temporary caustic dosing in place of Limestone at TDU and TPL to facilitate ongoing operations during limestone replacement project. |  | DG | 2025-06-17 | Y
570 | PLN-00144 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | Operational Monitoring Plan | Whole document | changes to include temporary caustic dosing in place of Limestone at TDU and TPL to facilitate ongoing operations during limestone replacement project. |  | DG | 2025-06-17 | Y
571 | PRO-02099 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | HACCP Plan Wall Chart Procedure | Whole document | changes to include temporary caustic dosing in place of Limestone at TDU and TPL to facilitate ongoing operations during limestone replacement project. |  | DG | 2025-06-17 | Y
572 | PLN-00074 | Hinze dam wtp | Operational Monitoring Plan | Whole document | type setting/format |  | DG | 2024-12-17 | Y
573 | PLN-00357 | Canungra WTP | HACCP Plan | Whole document | type setting/format, updated and reconfirmed the flow diagrams |  | DG | 2024-12-17 | Y
574 | PRO-02267 | Canungra WTP | HACCP Plan Wall Chart Procedure | Whole document | type setting/format updated to protecht details update BWSA table values review and update corretive actions |  | DG | 2024-12-17 | Y
575 | PLN-00358 | Canungra WTP | Operational Monitoring Plan | Whole document | type setting/format, grab sample monitoring frequency changes as per haccp team meeting |  | DG | 2024-12-17 | Y

## DWQMP & Support Programs
Register of changes to DWQMP and supporting programs
# | Document Ref | Plan/Procedure | Section/Para | Brief description / justification of change | Additional Comments | Originator | Date | QWSR Amendment Required (by Principal PQ)
56 | REG-00775 | Corporate HACCP - Register Prerequisite Programs (PRPs) | Reference | New styleguide aplied Minor changes e.g., references to CIS removed to include Mainpac |  | AS | 2024-07-26 | Y
59 | PRO-02360 | Creating a Water Quality Notification in Protecht Work Instruction | Whole Document | Complete rewrite of the document because of software change (from Risk Wizard to Protecht) |  | DG | 2024-07-12 | Y
60 | PRO-00707 | Drinking Water Quality Incident Reporting to WSR Procedure | 5.1 Overview of WSR’s reporting requirements | Aligned with approval conditions in latest Information Notice for the Decision (issued 30 May 2024) |  | JS | 2024-10-16 | Y
64 | PRO-01625 | Hach Solitax sc Suspended Solids Online Instrument Verification and Calibration Work Instruction, Ver 4 | Whole Document | Now WIS-00036 New format |  | AS | 2025-04-02 | Y
65 | PRO-01634 | Depolox 4 MFA for Ozone Online Instrument Verification and Calibration Work Instruction, Ver 5 | Whole Document | Now WIS-00037 New format |  | AS | 2025-04-02 | Y
66 | PRO-02241 | ABB Turbidity Systems 4670 Series Online Instrument Verification and Calibration Work Instruction, Ver 4 | Whole Document | Now WIS-00038 New format |  | AS | 2025-04-02 | Y
67 | PRO-02244 | Yokogawa ISC450G Converter Conductivity Online Instrument Verification and Calibration Work Instruction | Whole Document | Now WIS-00039 New format |  | AS | 2025-04-02 | Y
68 | PRO-01636 | Depolox 3 plus MFC – pH and Chlorine | Whole Document | Now WIS-00026 New format |  | AS | 2025-04-02 | Y
69 | PRO-01635 | Depolox 5 MFC – pH and Chlorine | Whole Document | Now WIS-00027 New format |  | AS | 2025-04-02 | Y
70 | WIS-00028 | Depolox 400M – pH and Chlorine | Whole Document | New work instruction |  | AS | 2025-04-02 | Y
71 | PRO-01633 | Hach 1720E and 1720D/L Low Range Turbidimeter | Whole Document | Now WIS-00029 New format |  | AS | 2025-04-02 | Y
72 | PRO-01631 | Hach Surface Scatter 7sc Turbidimeter | Whole Document | Now WIS-00030 New format |  | AS | 2025-04-02 | Y
73 | PRO-01632 | Hach Ultraturb sc Turbidimeter with SC200/SC100 Controller |  | Now WIS-00032 New format |  | AS | 2025-04-02 | Y
74 | PRO-02242 | Hach TU5300sc and TU5400sc Turbidimeters | Whole Document | Now WIS-00031 New format |  | AS | 2025-04-02 | Y
75 | PRO-01718 | Orion 2109XP Fluoride | Whole Document | Now WIS-00033 New format |  | AS | 2025-04-02 | Y
76 | PRO-02243 | Yokogawa EXA PH450 FLXA 21 | Whole Document | Now WIS-00034 New format |  | AS | 2025-04-02 | Y
77 | WIS-00035 | Yokogawa FLXA 402 | Whole Document | New work instruction |  | AS | 2025-04-02 | Y
79 | PRO-01551 | Corporate- Inspection Program for Treated Water reservoirs | Whole Document | New style guide applied and general review Changes to reflect new maintenance structure and transition to Ventia |  | AS | 2025-06-20 | Y
80 | PRO-02120 | HACCP - Management of Water Quality Online Instruments Procedure | Whole Document | Changes to reflect new maintenance structure and transition to Ventia |  | AS | 2025-05-02 | Y
81 | PRO-02340 | Management of Change (MoC) of HACCP Limits Procedure | Whole Document | Major overhaul of document. Changes of responsibilities, clear sub-sections about document management, reporting, record keeping and incident investigation management. |  | JS | 2025-05-19 | Y
82 | PRO-02636 | Mid Brisbane River Water Quality Event Response | Whole Document | New document to describe Seqwater's response to dirty water events significantly affecting raw water quality in the Mid Brisbane River (and therefore at Lowood and Mt Crosby WTPs) |  | NF | 2024-12-19 | Y