## North
Northern Operational Region - Register of changes to HACCP plans, procedures or related documents
# | Document Ref | WTP/System | HACCP Plan/Procedure | Section/Para | Brief description / justification of change | Additional Comments | Originator | Date | QWSR Amendment Required (by Principal DWQ)
295 | PLN-00084 | Kirkleagh WTP | HACCP Plan | Whole document | Update to new corporate style Visitor information updated. Visitor number related to E.coli sampling frequency and reference made to Public Health Regulation 2018 |  | J Schoenmakers | 2023-08-10 | Y
296 | PLN-00031 | Ewen Maddock WTP | Operational Monitoring Plan | Whole document | ozone to weekly from daily, iron to weekly from daily, specified combined analysers for settled water turbidity |  | NE | 2023-07-18 | Y
297 | GDE-00047 | Image Flat WTP | Verification Sample Point Guide | Whole document | Update to reflect changes to sampling point location. No need to include the access restrictions wappa has a path down to the pumpstation |  | NE | 2023-07-19 | Y
298 | PLN-00080 | Linville WTP | HACCP Plan | System Description / whole document | Include a description of the softener in the system description Update to new corporate style | Softener determined by HACCP team to be non-critical due to outcome of HACCP decision tree process | NE | 2023-08-08 | Y
299 | PLN-00050 | Kenilworth WTP | HACCP Plan | Validation _ Schematic | Update/clarification to Ct Calculation and update to schematic |  | NE | 2023-08-31 | Y
300 | PRO-01930 | Kenilworth WTP | HACCP Plan Wall Chart Procedure | Disinfection | Update/clarification to Ct Calculation |  | NE | 2023-08-31 | Y
301 | PLN-00084 | Kirkleagh WTP | HACCP Plan | Whole document | rectification of typographical errors and other errata |  | NE | 2023-09-09 | Y
302 | PLN-00085 | Kirkleagh WTP | Operational Monitoring Plan | Whole document | template revision |  | NE | 2023-09-22 | Y
303 | PLN-00046 | Image Flat WTP | HACCP Plan | schematic and flow diagram | Changes to the schematic and haccp flow diagram, confirmed by ops, to reflect the changes introduced by the new PAC system. Also updated the sample point codes and used the new typesetting. Changes were required as a consequence to audit action: 14779 |  | NE | 2023-09-21 | Y
304 | PLN-00051 | North Pine WTP | HACCP Plan | Whole document | revise the treated water pH action limit, and better identify the analyser on the schematic. Ive also updated the schematic with the new sample point names and put both on the new template. |  | NE | 2023-10-09 | Y
305 | PRO-02108 | North Pine WTP | HACCP Plan Wall Chart Procedure | Whole document | revise the treated water pH action limit. Ive also updated to the new template. |  | NE | 2023-10-09 | Y
306 | PLN-00066 | Dayboro WTP | HACCP Plan | Schematic, data analysis | Updated schematic, updated data analysis section as per IRN request |  | NE | 2024-02-16 | Y
307 | PLN-00046 | Image Flat WTP | HACCP Plan | Data analysis for IRN | Updated data analysis for IRN |  | NE | 2024-02-16 | Y
308 | PLN-00267 | Kilcoy WTP | HACCP Plan | Whole document | template revision+IRN data analysis and schematic improvements |  | NE | 2024-02-16 | Y
313 | PRO-02623 | Banksia Beach WTP | HACCP Plan Wall Chart Procedure | change from REG + typeset | change from REG and added typesetting (replaces REG-00109) |  | NE | 2024-01-29 | Y
314 | PLN-00052 | Banksia Beach WTP | HACCP Plan | typesetting only | type setting/format |  | NE | 2024-01-29 | Y
315 | PLN-00030 | Banksia Beach WTP | Operational Monitoring Plan | typesetting only | type setting/format |  | NE | 2024-01-29 | Y
316 | PLN-00053 | Ewen Maddock WTP | HACCP Plan | Validation | template revision + validation text improvements |  | NE | 2024-01-29 | Y
317 | GDE-00049 | Landers Shute WTP | Verification Sample Point Guide | Whole document | This update incorporates a new sample point that can be utilised whilst the ordinary sample point is unavailable (for example, during the fluoride project work). | The taps are providing access to the same quanta of water (so in theory there should be no ME associated) but I think it would still be best to give them different labels (and cocs and jobs etc) so that we can determine which tap was used to sample in the future. | NE | 2024-01-30 | Y
318 | PRO-02108 | North Pine WTP | HACCP Plan Wall Chart Procedure | Whole document | These changes are to alleviate some confusion around labelling of analysers and also introduces a post chlorine contact tank pH critical limit |  | NE | 2024-02-12 | Y
319 | PLN-00198 | Noosa WTP | HACCP Plan | Whole document | Improved typesetting/formatting. Added new sections, miscelanous corrections to information and descriptions. Simplified and reworded the sludge treatment section so that it is clear to the reader there is no supernatant return and that sludge cake is sent off site and water from the dewatering process is sent to the environment and not returned to the plant. Updated the flow chart and schematic. Updated the data assessment and highlighted that clarifiers 1 and 2 and filters 1 and 2 were decommissioned. |  | NE | 2024-06-24 | Y
333 | GDE-00038 | Dayboro WTP | Verification Sample Point Guide | Whole document | Formatting/typesetting/updated photos and descriptions |  | NE | 2024-05-30 | Y
334 | GDE-00046 | Ewen Maddock WTP | Verification Sample Point Guide | Whole document | Formatting/typesetting/updated photos and descriptions |  | NE | 2024-05-30 | Y
335 | GDE-00048 | Kenilworth WTP | Verification Sample Point Guide | Whole document | Formatting/typesetting/updated photos and descriptions |  | NE | 2024-05-30 | Y
336 | GDE-00050 | Noosa WTP | Verification Sample Point Guide | Whole document | Formatting/typesetting/updated photos and descriptions |  | NE | 2024-05-30 | Y
337 | GDE-00077 | Kirkleagh WTP | Verification Sample Point Guide | Whole document | Formatting/typesetting/updated photos and descriptions |  | NE | 2024-05-30 | Y
338 | GDE-00081 | Jimna WTP | Verification Sample Point Guide | Whole document | Formatting/typesetting/updated photos and descriptions |  | NE | 2024-05-30 | Y
339 | GDE-00124 | Kilcoy WTP | Verification Sample Point Guide | Whole document | Formatting/typesetting/updated photos and descriptions |  | NE | 2024-05-30 | Y

## Central
Central Operational Region - Register of changes to HACCP plans, procedures or related documents
# | Document Ref | WTP/System | HACCP Plan/Procedure | Section/Para | Brief description / justification of change | Additional Comments | Originator | Date | QWSR Amendment Required (by Principal DWQ)
441 | PLN-00263 | Supply System | HACCP Plan | Whole document | Converted whole document including tables to new corporate format |  | KM | 2023-08-02 | Y
442 | PLN-00263 | Supply System | HACCP Plan | 2.1.1 HACCP Team | Removed HACCP Team table and referred to DWQMP. |  | KM | 2023-08-02 | Y
443 | PLN-00263 | Supply System | HACCP Plan | 2.1.2 Supply System Overview Process Flow Chart | Updated diagram to include NIP naming on Gold Coast Network. Date document approved also updated. |  | KM | 2023-08-02 | Y
444 | PLN-00263 | Supply System | HACCP Plan | 3.2 HACCP Limit Validation - Disinfection (secondary) CCP | Updated operational target, action lim and critical limit sections to include free ammonia and monochloramine. |  | KM | 2023-08-02 | Y
445 | PLN-00104 | Wivenhoe Dam WTP | HACCP Plan | Whole document | Update to new corporate style Visitor information updated. Visitor number related to E.coli sampling frequency and reference made to Public Health Regulation 2018 Information added about tankering (+ reference to tankering procedure) |  | J Schoenmakers | 2023-08-10 | Y
449 | PLN-00263 | Supply System | HACCP Plan | Section 2.1.2 System Overview | Included new sample point codes for whole of document. |  | KM | 2024-02-12 | Y
450 | PLN-00263 | Supply System | HACCP Plan | Section 2.1.4 Operational Challenges | Reviewed section and updated as required. |  | KM | 2024-02-12 | Y
451 | PLN-00263 | Supply System | HACCP Plan | Section 2.3 Assessment of Water Quality Data | Added information / summary on water quality data. |  | KM | 2024-02-12 | Y
452 | PLN-00061 | Esk WTP | HACCP Plan | Section 2.1.4 System Overview | Updated reference to Wivenhoe Dam Catchment Description |  | DH | 2024-02-15 | Y
453 | PLN-00086 | Somerset Dam Township WTP | HACCP Plan | Section 2.1.4 System Overview | Updated reference to Somerset Dam Catchment Description |  | DH | 2024-02-15 | Y
454 | PLN-00061 | Esk WTP | HACCP Plan | Section 2.3 Assessment of Water Quality Data | Added information / summary on water quality data. |  | DH | 2024-02-15 | Y
455 | PLN-00086 | Somerset Dam Township WTP | HACCP Plan | Section 2.3 Assessment of Water Quality Data | Added information / summary on water quality data. |  | DH | 2024-02-15 | Y
456 | PLN-00061 | Esk WTP | HACCP Plan | Schematic & flow diagram | Added last review details and new sample point codes |  | DH | 2024-02-15 | Y
457 | PLN-00105 | Wivenhoe Dam WTP | Operational Monitoring Plan | Schedule (table) | Updated to remove monitoring no longer applicable |  | DH | 2023-12-04 | Y
458 | PRO-02015 | Lowood WTP | HACCP Plan Wall Chart Procedure | Wall Chart Table | Updated into new Corporate style/format with minor typographic ammendments/labing of alarms and interlocks |  | DH | 2023-12-06 | Y
459 | PRO-02089 | Supply System | HACCP Plan Wall Chart Procedure | Whole document | Various minor updates throughout document. |  | KM | 2023-09-14 | Y
460 | GDE-00176 | Supply System | Northern Pipeline Interconnector Supply System Verification Sample Point Guide | Whole document | Added Woombye Offtake. Updated maps and sample point codes. |  | KM | 2023-12-22 | Y
461 | GDE-00072 | Lowood WTP | Verification Sample Point Guide | Whole document | Added alternate routes for site access. Updated maps and sample point codes. |  | KM | 2023-12-22 | Y
462 | GDE-00075 | Wivenhoe Dam WTP | Verification Sample Point Guide | Whole document | Removed Raw Water (WTP decommissioned less rechlorination/secondary disinfection). Updated maps and sample point codes. |  | KM | 2023-12-22 | Y
466 | PLN-00086 | Somerset Dam Township WTP | HACCP Plan | Whole document | Minor corrections to process flow diagram New corproate format for controlled documents |  | DH | 2024-04-02 | Y
467 | GDE-00070 | Mt Crosby WTPs | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2024-06-25 | Y
468 | GDE-00075 | Wivenhoe Dam WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS Document updated to represent decommissioning of WTP to a Tanker supplied reticulation system and with rechlorination (specifically removal of Raw Water Sample point from verification monitoring) |  | DH | 2024-06-25 | Y
469 | GDE-00076 | Somerset Dam Township WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | DH | 2024-06-25 | Y
478 | GDE-00189 | Supply System | Southern Regional Pipeline Supply System Verification Sample Point Guide | Whole document | Updated document template. Added sections ‘Sampling Requirements Summary’, ‘Training and Competency’, ‘References and Related Materials’ and ‘Document History’. Removed section ‘Roles and Responsibilities’. Minor textual changes and additions. |  | KM | 2024-05-02 | Y
479 | GDE-00183 | Supply System | Eastern Pipeline Interconnector (EPI) Supply System - Verification Sample Point Guide | Whole document | Updated document template. Added sections ‘Sampling Requirements Summary’, ‘Training and Competency’, ‘References and Related Materials’ and ‘Document History’. Removed section ‘Roles and Responsibilities’. Minor textual changes and additions. |  | KM | 2024-06-13 | Y
480 | GDE-00186 | Supply System | Network Integrated Pipeline (NIP) Supply System - Verification Sample Point Guide | Whole document | Updated document template. Added sections ‘Sampling Requirements Summary’, ‘Training and Competency’, ‘References and Related Materials’ and ‘Document History’. Removed section ‘Roles and Responsibilities’. Minor textual changes and additions. |  | KM | 2024-06-13 | Y
481 | GDE-00188 | Supply System | Redlands Bulk Transfer (RED) Supply System - Verification Sample Point Guide | Whole document | Updated document template. Added sections ‘Sampling Requirements Summary’, ‘Training and Competency’, ‘References and Related Materials’ and ‘Document History’. Removed section ‘Roles and Responsibilities’. Minor textual changes and additions. |  | KM | 2024-06-13 | Y

## South
Southern Operational Region - Register of changes to HACCP plans, procedures or related documents
# | Document Ref | WTP/System | HACCP Plan/Procedure | Section/Para | Brief description / justification of change | Additional Comments | Originator | Date | QWSR Amendment Required (by Principal DWQ)
497 | PLN-00100 | Maroon Dam WTP | HACCP Plan | Whole document | Update to new corporate style Visitor information updated. Visitor number related to E.coli sampling frequency and reference made to Public Health Regulation 2018 |  | J Schoenmakers | 2023-08-10 | Y
498 | PLN-00107 | Moogerah Dam WTP | HACCP Plan | Whole document | Update to new corporate style Visitor information updated. Visitor number related to E.coli sampling frequency and reference made to Public Health Regulation 2018 |  | J Schoenmakers | 2023-08-10 | Y
499 | PLN-00073 | Hinze Dam WTP | HACCP Plan | Whole document | Update to new corporate style Visitor information updated. Visitor number related to E.coli sampling frequency and reference made to Public Health Regulation 2018 |  | J Schoenmakers | 2023-08-10 | Y
500 | PLN-00091 | Beaudesert WTP | HACCP Plan | Tankering process | • Removed reference to D17/102856 Beaudesert WTP Functional Description – Part A and replaced it with Record D20/88970: B-REP-TBE-001 Beaudesert WTP Functional Description - Part A • Conditions of Application included in the operations section that ‘A dedicated tanker filling and receival station is located onsite to support local demand.’ • Updated and approved/ signed process flow diagram • Updated Beaudesert water supply scheme- system schematic to include future connection to the SWP • Updated Beaudesert schematic diagram to include new sampling point codes for verification sampling points as well as the CCT tanker receiving and filling points • Reviewed process validation to include oPRP status of raw water abstract, Flocculation & Settling and included tankering oPRP |  | AC | 2023-09-15 | Y
501 | REG-01114 | Gold Coast Desalination Plant | HACCP Risk Register | Whole document | Updates from desktop review 2023. Change log in file details changes | Veolia BMS number: WIS 9395 | TF | 2023-12-07 | N
502 | PLN-00091 | Beaudesert WTP | HACCP Plan | Disinfection CCP and SWP oPRP description Validation Assessment of Water quality data | Updates relate to the disinfection changeover from chlorinated system to chloraminated system and the addition of SWP inflow Inclusion of raw and treated water assessment as per IRN. New format |  | AC | 2024-02-16 | Y
503 | PRO-02105 | Beaudesert WTP | HACCP Plan Wall Chart Procedure | Disinfection CCP and SWP oPRP description | Limit settings and corrective action procedures New format |  | AC | 2024-02-16 | Y
504 | GDE-00059 | Beaudesert WTP | Verification Sample Point Guide | Sampling points for TBE-TRE-TAP-02 and TBE-TRW-TAP-01 | New photographs to reflect operational change New format |  | AC | 2024-02-16 | Y
505 | PLN-00092 | Beaudesert WTP | Operational Monitoring Plan | Disinfection | Updates relate to the disinfection changeover from chlorinated system to chloraminated system and the addition of SWP inflow. New format. |  | AC | 2024-02-16 | Y
506 | PLN-00117 | Moogerah Dam WTP | HACCP Plan | Assessment of Water quality data Whole document | Inclusion of raw and treated water assessment as per IRN. New format. |  | AC | 2024-02-16 | Y
507 | PLN-00100 | Maroon Dam WTP | HACCP Plan | Assessment of Water quality data Whole document | Inclusion of raw and treated water assessment as per IRN. New format. |  | AC | 2024-02-16 | Y
508 | PLN-00095 | Kooralbyn WTP | HACCP Plan | Assessment of Water quality data Whole document | Inclusion of raw and treated water assessment as per IRN. New format. |  | AC | 2024-02-16 | Y
509 | PLN-00073 | Hinze Dam WTP | HACCP Plan | Assessment of Water quality data | Corporate style update, inclusion of raw and treated water assessment as per IRN. |  | DG | 2024-02-19 | Y
510 | PLN-00476 | Gold Coast Desalination Plant | HACCP Plan | Risk Assessment Methodology | Upated to align with Seqwater's Enterprise Risk Framework (FRA-00014) | Veolia reference MAN-9393 | TF | 2024-03-27 | N
511 | PRO-02591 | Gold Coast Desalination Plant | HACCP Corrective Actions | Various minor | Updates for GC codes to WQLs and other minor changes | Veolia BMS number: TEM 4255 | TF | 2024-05-08 | N
512 | GDE-00063 | North Stradbroke Island WTP | Verification Sample Point Guide | whole document | corporate style update, site photos and details review |  | DG | 2023-09-19 | Y
513 | PRO-02103 | Hinze Dam WTP | HACCP Plan Wall Chart Procedure | Whole document | corporate style update, turbidity action limit details added and details review |  | DG | 2023-11-29 | Y
514 | PRO-02099 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | HACCP Plan Wall Chart Procedure | Whole document | corporate style update, OPRPs changed and details review |  | DG | 2024-01-23 | Y
515 | PLN-00144 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | Operational Monitoring Plan | Whole document | corporate style update, OPRPs changed and details review |  | DG | 2024-01-23 | Y
516 | PLN-00075 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | HACCP Plan | Whole document | corporate style update, OPRPs changed, photos updated, schematic updated, links reviewed, WSAA HBT changed to ADWG and details review |  | DG | 2024-01-23 | Y
520 | GDE-00054 | Boonah-Kalbar WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | AC | 2024-06-05 | Y
521 | SPE-00504 | Gold Coast Desalination Plant | HACCP Treated Water Quality Specification | Boron limit | Water Quality Limit change from Annual rolling average (external Lab) to Annual rolling 95th%ile. As per Seqwater comms 12/4/2024. | Veolia BMS number: TEM 7200 | TF | 2024-06-26 | N
522 | PLN-02099 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | HACCP Plan Wall Chart Procedure | Amity disinfection | includsion of Amity WTP new Dynamic Ct critical control point detail |  | DG | 2024-01-31 | Y
524 | PLN-00144 | North Stradbroke Island Town WTPs (Amity, Dunwich & Point Lookout) | Operational Monitoring Plan | Whole document | type setting/format |  | DG | 2024-01-31 | Y
525 | PLN-00073 | Hinze Dam WTP | HACCP Plan | Whole document | type setting/format IRN detail |  | DG | 2024-02-19 | Y
528 | PLN-00120 | Capalaba WTP | Operational Monitoring Plan | Whole document | type setting/format |  | DG | 2023-07-03 | Y
529 | PRO-02057 | Capalaba WTP | HACCP Plan Wall Chart Procedure | Whole document | type setting/format |  | DG | 2023-07-03 | Y
530 | PLN-00037 | Capalaba WTP | HACCP Plan | Whole document | type setting/format |  | DG | 2023-07-03 | Y
531 | GDE-00055 | Maroon Dam WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | AC | 2024-06-05 | Y
532 | GDE-00056 | Moogerah Dam WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | AC | 2024-06-05 | Y
533 | GDE-00057 | Kooralbyn WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | AC | 2024-06-05 | Y
534 | GDE-00058 | Rathdowney WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | AC | 2024-06-05 | Y
536 | PRO-02105 | Beaudesert WTP | HACCP Plan Wall Chart Procedure | Whole document | Typographic corrections & new corproate format for controlled documents Limit changes due to disinfection change to chloramination Included supplementation of SWP into the clarifier |  | AC | 2024-03-06 | Y
537 | GDE-00059 | Beaudesert WTP | Verification Sample Point Guide | Whole document | Typographic corrections & new corproate format for controlled documents Sample Point ID updated as per Labware LIMS |  | AC | 2024-03-07 | Y
541 | GDE-00067 | Molendinar WTP | Verification Sample Point Guide | Whole document | type setting/format and sample location photos updated. |  | DG | 2024-05-15 | Y
542 | GDE-00255 | Canungra WTP | Verification Sample Point Guide | Whole document | type setting/format and sample location photos updated. |  | DG | 2024-05-15 | Y
543 | GDE-00069 | Hinze dam wtp | Verification Sample Point Guide | Whole document | type setting/format and sample location photos updated. |  | DG | 2024-05-15 | Y
544 | GDE-00068 | Mudgeeraba WTP | Verification Sample Point Guide | Whole document | type setting/format and sample location photos updated. |  | DG | 2024-05-15 | Y
545 | GDE-00066 | Point Lookout WTP | Verification Sample Point Guide | Whole document | type setting/format, sample point detail and sample location photos updated. |  | DG | 2024-05-15 | Y
546 | GDE-00065 | Amity Point WTP | Verification Sample Point Guide | Whole document | type setting/format, sample point detail and sample location photos updated. |  | DG | 2024-05-15 | Y
547 | GDE-00063 | NSI WTP | Verification Sample Point Guide | Whole document | type setting/format, sample point flushing time and sample location photos updated. |  | DG | 2024-05-15 | Y
548 | GDE-00062 | Capalaba WTP | Verification Sample Point Guide | Whole document | type setting/format and sample location photos updated. |  | DG | 2024-05-15 | Y
549 | GDE-00064 | Dunwich WTP | Verification Sample Point Guide | Whole document | type setting/format, sample point detail and sample location photos updated. |  | DG | 2024-05-15 | Y

## DWQMP & Support Programs
Register of changes to DWQMP and supporting programs
# | Document Ref | Plan/Procedure | Section/Para | Brief description / justification of change | Additional Comments | Originator | Date | QWSR Amendment Required (by Principal PQ)
43 | SPE-00320 | Validation Plan | Review was of all sections | Documented fitted to new corporate template, and opportunity taken to improve the formatting. "Executive summary" changed to "Scope". Table of definitions added. Treatment requirements section updated to include more detail on Supply System WQMFs. Raw water characterisation section updated to align with current processes, and to accomodate recent changes in the ADWG with regard to source water categorisation and pathogen treatment requirements. Product specification section updated to accomodate requirements in Bulk Water Supply Agreements and Memorandum's of Understanding - Desired Additional Quality Parameters. Water treatment plant processes table updated so that process terminology aligns more closely with that used in the DWQ Risk Registor and X-PRO-STD-006. Several additional processes were also addeded including bank filtration, stabilisation, water softening, cartridge filtration and membrane filtration, noting that the last two processes used to be captured under the single heading of filtration. Supply System WQMF processes table updated to capture the ability to now operate the Aspley WQMF in both directions since recent upgrade works. Raw water abstraction - some additional parameters added to the operational monitoring table. Coagulation - potential for chlorine to cause negative interference to UV254 results mentioned. Meda filtration - previous critical limit of > 1 NTU changed to > 0.99 NTU to avoid alarms not registering if the analyser is only scaled to read up to 1 NTU. UV disinfecton - additional information provided with regard to other potential locations of UV reactors, such as on the outlet side of these reservoirs (i.e. Boonah-Kalber) and also on supernatant return streams (i.e. Dunwich). Primary disinfection-chlorination - this name is change from that used in the earlier version of this document which was "free chlorine disinfection". Additional clarity has also been provided with respect to the importants of having amperometric free chlorine analysers pH compensate, in order to avoid pH induced interferences. Secondary disinfection-chloramination - Additional detail provided around how online analysers are used to support the dosing system functionality and alarming. The importance of close control of pH from a water quality perspective was also discussed in more detail and a two tiered free ammonia action limit approach was included along with an explanation for this change to the original alarming strategy for that parameter. Fluoridation - Approach for determining dosed filtered water time delay for the critical limit alarm has been altered to incorporate the use of the T10 from the fluoride injection point to the WTP's treated water verification sample point. Manganese control - Changes to allow this process to be either a CCP (if alkali is dosed into the settled water) or a QCP (if alkali is not dosed into the settled water). Disinfectant residual dosing in the Supply System - Additional detail provided around how online analysers are used to support the dosing system functionality and alarming. The importance of close control of pH from a water quality perspective was also discussed in more detail and a two tiered free ammonia action limit approach was included along with an explanation for this change to the original alarming strategy for that parameter. Reference section also updated to include the most recent revision of the several documents listed in the last review, as well as listing some new documents used. |  | B Hester | 2023-08-10 | Y
44 | PLN-00351 | Drinking Water Quality External Monitoring Program Methodology Justification | all sections | Removal of direct impact of unmitigated and mitigated risk assessment results |  | J Schoenmakers | 2023-08-10 | Y
45 | PLN-00004 | Drinking Water Quality Management Plan (DWQMP) | all sections | Three yearly full review. Refer track changes. REX D23/62376 |  | J Schoenmakers | 2023-08-11 | Y
47 | PRO-00707 | Drinking Water Quality - Incident Reporting to WSR Procedure | Whole Document | Added various reportable incidents and events. Updated internet links to WSR forms. Updated that procedure will now be reviewed 3-yearly instead of 2-yearly. Updated contact list. General minor updates throughout. Reformatted in new corporate style. |  | J Schoenmakers | 2024-02-16 | Y
48 | PLN-00004 | Drinking Water Quality Management Plan (DWQMP) | Whole Document | Reviewed and updated document in response to IRN. Minor changes made throughout the document, primarily related to further clarification of the risk methodology and the various terminology used, further explanation of the information used for risk assessments, explanation of fluoride sampling, and addition of information about major upcoming projects. |  | J Schoenmakers | 2024-02-16 | Y
49 | PRO-02019 | Disinfection of Small Reservoirs in Free Chlorine System (Method 1) | Section 4 (table) and Appendix 2 (check list) | Reformatted in new Corporate style, updated Instructions table and added user-friendly checklist/worksheet as an appendix |  | D Healy | 2023-12-04 | Y
50 | PRO-01870 | Underwater Inspections in Drinking Water Assets | Section 4 (table) and Appendix 1 (check list) | Reformatted in new Corporate style, updated Instructions table and added user-friendly checklist/worksheet as an appendix |  | D Healy | 2023-12-04 | Y
51 | PRO-01869 | Disinfection of Pumps, Hoses, Vac Trucks and Jet Rodding Equipment | Section 4 (table) and Appendix 3 (check list) | Reformatted in new Corporate style, updated Instructions table and added user-friendly checklist/worksheet as an appendix |  | D Healy | 2023-12-04 | Y
52 | PRO-01554 | WTPs & Supply System - Disinfection of Water Mains | Section 4 (table) and Appendix 3 (check list) | Reformatted in new Corporate style, updated Instructions table and added user-friendly checklist/worksheet as an appendix |  | D Healy | 2023-12-04 | Y
53 | PRO-01559 | Disinfection of Bulk Water Supply Reservoirs (Method 2) | Section 4 (table) and Appendix 3 (check list) | Reformatted in new Corporate style, updated Instructions table and added user-friendly checklist/worksheet as an appendix |  | D Healy | 2023-12-04 | Y
55 | PRO-01718 | Online Instrument Verification and Calibration Orion 2109XP Fluoride | Section 7.3 and 7.4 | Review and update of Instrument calibration process and Acceptable limits for consistency with Appendix 1, PRO-02120 Management of WQ Online Instruments Reformatted in new corporate style |  | A Clement | 2023-11-24 | Y
57 | PRO-02120 | HACCP - Management of Water Quality Online Instruments Procedure | Whole Document | New style guide applied and general review |  | A Clement | 2024-03-19 | Y
58 | PRO-01146 | Water Quality Notification and Reporting Procedure | Whole Document | Obsoleted PRO-00656 (Water Quality Notification Procedure) and moved any relevant information over to PRO-01146. Most of the procedure was rewritten. Covers new software for incident management (Protecht). |  | J Schoenmakers | 2024-06-27 | Y